- Cruise narrative

- Highlights

Cruise designation: RF11-06, RF11-07 and RF11-08 （WHP-P13 revisit）

- EXPOCODE: RF11-06  49UP20110515

RF11-07  49UP20110604

RF11-08  49UP20110705

- Chief scientist: Toshiya NAKANO (nakano_t@met.kishou.go.jp)

Marine Environment Monitoring and Analysis Center

Marine Division

Global Environment and Marine Department

Japan Meteorological Agency (JMA)

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341   Ext.　5163

FAX:	 +81-3-3211-6908

- Ship name: R/V Ryofu Maru

- Ports of call: RF11-06  Tokyo - Tokyo

RF11-07  Tokyo - Tokyo

RF11-08  Leg1: Tokyo - Pohnpei

Leg 2: Pohnpei - Saipan

- Cruise dates: RF11-06  15 May 2011 - 31 May 2011

RF11-07   4 June 2011 - 27 June 2011

RF11-08  Leg1: 5 July 2011 - 29 July 2011

Leg2: 2 August 2011 - 26 August 2011

f.  Floats and drifters deployed: RF11-06  3 floats

RF11-07  5 floats

RF11-08  3 floats

- Cruise Summary Information

RF11-06, RF11-07 and RF11-08 cruises were carried out during the period from May 15 to September 5, 2011. The observation line along approximately 165°E meridian was observed by Ocean Research Institute, University of Tokyo, Japan in 1991 and 1993, and by National Oceanographic and Atmospheric Administration, USA in 1992. These cruises were carried out as ‘WHP-P13’, which is a part of WOCE (World Ocean Circulation Experiment) Hydrographic Programme. The stations from Stn.1 (43°N, 145°30’E; RF3984) to Stn.14 (39°40’N, 147°52’E; RF3997) for RF11-06 cruise and from Stn.23 (39°40’N, 147°52’E; RF4007) to Stn.38 (47°N, 160°E) for RF11-07 cruise had been designed as a re-occupation of the WHP-P1 stations observed by Japan Agency for Marine-Earth Science and Technology (JAMSTEC) in 2007.

RF11-06

RF11-06 cruise was carried out during the period from May 15 to May 31, 2011. Before the observation at the first station, all watch standers were drilled in the method of sample drawing and CTD operations near Izu-Oshima (34°40’N, 139°40’E). The cruise started from the coast near Kushiro, Japan, and sailed southeastward. The hydrographic cast of CTDO2 was started at the first station (Stn.1 (43°N, 145°30’E; RF3984)) on May 17. RF11-06 cruise consisted of 22 stations from Stn.1 to Stn.22 (37°N, 149°50’E; RF4005). Cruise track and station location are shown in Figure 1(a).

Three sub-surface profiling floats (ARVOR: nke Instrumentation, France) were deployed along the cruise track. The information of deployed the floats are listed in Table 1.

RF11-07

RF11-07 cruise was carried out during the period from June 4 to June 27, 2011. Before the observation at the first station, all watch standers were drilled in the method of sample drawing and CTD operations near Izu-Oshima (34°40’N, 139°40’E). The cruise started from the east of Honshu, Japan, and sailed northeastward along off the Kuril Islands. The hydrographic cast of CTDO2 was started at the first station (Stn.23 (39°40’N, 147°52’E; RF4007)) on June 6. After observed at Stn.44 (50°N, 165°E; RF4028), she sailed toward south along 165°E meridian. RF11-07 cruise consisted of 33 stations from Stn.23 to Stn.55 (40°N, 165°E; RF4039). Cruise track and station location are shown in Figure 1(b).

Five ARGO floats (PROVOR: nke Instrumentation, France) were deployed at the request of JAMSTEC along the cruise track. The information of deployed floats are listed in Table 1.

RF11-08

RF11-08 cruise was carried out during the period from July 5 to September 5, 2011. In order to ensure a controlled spooling of the armored cable, we rewound the cable at 34°50’N, 142°00’E (about 8000 m depth) before the observation at the first station. The cruise started from 40°N, 165°E, and sailed toward south along approximately 165°E meridian. The hydrographic cast of CTDO2 was started at the first station (Stn.56 (40°00’N, 165°E; RF4040)) on July 9. Leg 1 consisted of 50 stations from Stn.56 to Stn.105 (9°N, 165°E; RF4089). In order to keep away from the military exercise area, we shifted the nominal longitude of CTDO2 stations westward between Stn.98 (RF4082) and Stn.111 (RF4095). She called for Pohnpei (Federated States of Micronesia) on July 29, 2011 (Leg 1). She left Pohnpei on August 2, 2011 for Saipan (Commonwealth of the Northern Mariana Islands) and arrived on August 26, 2011 (Leg 2). Leg 2 consisted of 46 stations from Stn.106 (9°N, 164°E; RF4090) to Stn.151 (8°S, 161°E; RF4135). Cruise track and station location are shown in Figure 1(c).

Three ARGO floats (PROVOR: nke Instrumentation, France) were deployed at the request of JAMSTEC along the cruise track. The information of deployed floats are listed in Table 1.

A total of 151 stations (22 for RF11-06, 33 for RF11-07 and 96 for RF11-08) was occupied using a Sea-Bird Electronics (SBE) 36 position carousel equipped with 10-liter Niskin water sample bottles, a CTD system (SBE911plus) equipped with SBE35 deep ocean standards thermometer, JFE Advantech oxygen sensor (RINKO III), Teledyne Benthos altimeter, and Teledyne RD Instruments Lowered Acoustic Doppler Current Profiler (L-ADCP). To examine consistency of data, we carried out the observation twice at 39°40’N, 147°52’E (Stn.14 and Stn.23), 40°N, 165°E (Stn.55 and Stn.56) and 9°N, 165°E (Stn.105 and Stn.106), respectively.

At each station, full-depth CTDO2 (temperature, conductivity (salinity) and dissolved oxygen) profile and up to 36 water samples were taken and analyzed. Water samples were obtained from 10 dbar to approximately 10 meters above the bottom. In addition, surface water were sampled by stainless steel bucket at each station. Basic sampling layer is designed as so-called staggered mesh as shown in Table 2. We added the sampling layer selected from 25 m/75 m/125 m/350 m/450 m, according as characteristic of ocean structure and water depth. The bottle depth diagram is shown in Figure 2.

Water samples were analyzed for salinity, dissolved oxygen, nutrients, dissolved inorganic carbon (DIC), total alkalinity (TA), pH, CFC-11, -12 and phytopigment (chlorophyll-a and phaeopigments). Samples for 14C were also collected at the same stations of WHP-P13 in 1992. Underway measurements of partial pressure of carbon dioxide (pCO2), temperature, salinity, chlorophyll-a, subsurface current, bathymetry and meteorological parameters were conducted along the cruise track.

Table 1.  Information of deployed floats in RF11-06, RF11-07 and RF11-08.

| ARGOS ID | Date and Time of System Reset (UTC) | Date and Time of Deployment (UTC) | Position of deployment | PI | Remark |
| --- | --- | --- | --- | --- | --- |
| RF11-06 |  |  |  |  |  |
| 064041 | May 21, 09:35 | May 21, 10:07 | 39-26.669N, 148-13.147E | JMA | Stn.15 (RF3998) |
| 064213 | May 21, 09:31 | May 21, 10:08 | 39-26.613N, 148-13.095E | JMA | Stn.15 (RF3998) |
| 064040 | May 22, 00:20 | May 22, 01:14 | 38-43.498N, 148-31.341E | JMA | Stn.17 (RF4000) |
| RF11-07 |  |  |  |  |  |
| 97932 | June 4, 16:55 | June 4, 17:43 | 35-10.203N, 141-01.024E | JAMSTEC |  |
| 97955 | June 5, 04:54 | June 5, 06:00 | 37-08.304N, 144-00.438E | JAMSTEC |  |
| 97945 | June 17, 21:40 | June 17, 22:57 | 44-00.119N, 165-03.358E | JAMSTEC | Stn.50 (RF4034) |
| 97937 | June 19, 01:27 | June 19, 02:59 | 42-02.514N, 164-54.997E | JAMSTEC | Stn.53 (RF4037) |
| 97913 | June 21, 21:20 | June 21, 22:09 | 40-07.053N, 165-01.610E | JAMSTEC | Stn.55 (RF4039) |
| RF11-08 |  |  |  |  |  |
| 97951 | July 13, 20:20 | July 13, 21:31 | 31-55.845N, 164-59.280E | JAMSTEC | Stn.69 (RF4053) |
| 97939 | July 14, 23:12 | July 15, 00:27 | 29-00.311N, 165-00.595E | JAMSTEC | Stn.72 (RF4056) |
| 97943 | July 19, 01:05 | July 19, 02:10 | 20-00.022N, 164-58.151E | JAMSTEC | Stn.83 (RF4067) |

Figure 1(a).  Cruise track of RF11-06. Open and closed circles indicate CTD station and X-BT station, respectively.

Figure 1(b).  Cruise track of RF11-07. Open and closed circles indicate CTD station and X-BT station, respectively.

Figure 1(c).  Cruise track of RF11-08. Open and closed circles indicate CTD station and X-BT station, respectively.

Figure 2.  The bottle depth diagram for WHP-P13 revisit.

Table 2.  The scheme of sampling layer in meters.

| Bottle count | scheme1 | scheme2 | scheme3 |
| --- | --- | --- | --- |
| 1 | 10 | 10 | 10 |
| 2 | 50 | 50 | 50 |
| 3 | 100 | 100 | 100 |
| 4 | 150 | 150 | 150 |
| 5 | 200 | 200 | 200 |
| 6 | 250 | 250 | 250 |
| 7 | 300 | 330 | 280 |
| 8 | 400 | 430 | 370 |
| 9 | 500 | 530 | 470 |
| 10 | 600 | 630 | 570 |
| 11 | 700 | 730 | 670 |
| 12 | 800 | 830 | 770 |
| 13 | 900 | 930 | 870 |
| 14 | 1000 | 1070 | 970 |
| 15 | 1200 | 1270 | 1130 |
| 16 | 1400 | 1470 | 1330 |
| 17 | 1600 | 1670 | 1530 |
| 18 | 1800 | 1870 | 1730 |
| 19 | 2000 | 2070 | 1930 |
| 20 | 2200 | 2270 | 2130 |
| 21 | 2400 | 2470 | 2330 |
| 22 | 2600 | 2670 | 2530 |
| 23 | 2800 | 2870 | 2730 |
| 24 | 3000 | 3080 | 2930 |
| 25 | 3250 | 3330 | 3170 |
| 26 | 3500 | 3580 | 3420 |
| 27 | 3750 | 3830 | 3670 |
| 28 | 4000 | 4080 | 3920 |
| 29 | 4250 | 4330 | 4170 |
| 30 | 4500 | 4580 | 4420 |
| 31 | 4750 | 4830 | 4670 |
| 32 | 5000 | 5080 | 4920 |
| 33 | 5250 | 5330 | 5170 |
| 34 | 5500 | 5580 | 5420 |
| 35 | 5750 | 5830 | 5670 |
| 36 | Bottom | Bottom | Bottom |

Table 3(a).  Station data of RF11-06 cruise. The ‘RF’ column indicates the JMA station identification number.

| Leg | Station | Position |
| --- | --- | --- |
|  | Stn. | RF | Latitude | Longitude |
| 1 | 1 | 3984 | 42-59.53 N | 145-29.82 E |
| 1 | 2 | 3985 | 42-55.25 N | 145-32.72 E |
| 1 | 3 | 3986 | 42-50.85 N | 145-36.45 E |
| 1 | 4 | 3987 | 42-41.38 N | 145-43.70 E |
| 1 | 5 | 3988 | 42-30.90 N | 145-51.01 E |
| 1 | 6 | 3989 | 42-16.00 N | 146-02.06 E |
| 1 | 7 | 3990 | 42-00.75 N | 146-12.13 E |
| 1 | 8 | 3991 | 41-41.35 N | 146-29.80 E |
| 1 | 9 | 3992 | 41-20.14 N | 146-42.38 E |
| 1 | 10 | 3993 | 41-00.56 N | 146-55.31 E |
| 1 | 11 | 3994 | 40-40.84 N | 147-10.72 E |
| 1 | 12 | 3995 | 40-21.13 N | 147-24.26 E |
| 1 | 13 | 3996 | 40-01.21 N | 147-37.85 E |
| 1 | 14 | 3997 | 39-41.56 N | 147-52.96 E |
| 1 | 15 | 3998 | 39-22.74 N | 148-08.12 E |
| 1 | 16 | 3999 | 39-02.30 N | 148-21.66 E |
| 1 | 17 | 4000 | 38-41.11 N | 148-31.75 E |
| 1 | 18 | 4001 | 38-20.97 N | 148-45.65 E |
| 1 | 19 | 4002 | 38-00.47 N | 149-01.63 E |
| 1 | 20 | 4003 | 37-38.34 N | 149-13.98 E |
| 1 | 21 | 4004 | 37-20.09 N | 149-30.97 E |
| 1 | 22 | 4005 | 36-59.71 N | 149-43.09 E |

Table 3(b).  Station data of RF11-07 cruise. The ‘RF’ column indicates the JMA station identification number.

| Leg | Station | Position |
| --- | --- | --- |
|  | Stn. | RF | Latitude | Longitude |
| 1 | 23 | 4007 | 39-41.20 N | 147-53.53 E |
| 1 | 24 | 4008 | 40-21.01 N | 148-52.73 E |
| 1 | 25 | 4009 | 40-55.05 N | 149-52.79 E |
| 1 | 26 | 4010 | 41-34.59 N | 150-53.38 E |
| 1 | 27 | 4011 | 41-56.44 N | 151-29.15 E |
| 1 | 28 | 4012 | 42-19.40 N | 152-05.32 E |
| 1 | 29 | 4013 | 42-40.36 N | 152-39.91 E |
| 1 | 30 | 4014 | 43-05.50 N | 153-20.34 E |
| 1 | 31 | 4015 | 43-34.66 N | 154-10.27 E |
| 1 | 32 | 4016 | 44-05.77 N | 154-58.35 E |
| 1 | 33 | 4017 | 44-35.31 N | 155-47.96 E |
| 1 | 34 | 4018 | 45-03.62 N | 156-39.25 E |
| 1 | 35 | 4019 | 45-33.64 N | 157-28.74 E |
| 1 | 36 | 4020 | 46-04.60 N | 158-18.39 E |
| 1 | 37 | 4021 | 46-35.35 N | 159-11.81 E |
| 1 | 38 | 4022 | 47-06.13 N | 160-03.89 E |
| 1 | 39 | 4023 | 47-29.69 N | 160-49.18 E |
| 1 | 40 | 4024 | 48-00.58 N | 161-39.39 E |
| 1 | 41 | 4025 | 48-30.44 N | 162-28.67 E |
| 1 | 42 | 4026 | 49-00.23 N | 163-17.79 E |
| 1 | 43 | 4027 | 49-29.08 N | 164-08.39 E |
| 1 | 44 | 4028 | 49-59.80 N | 164-58.50 E |
| 1 | 45 | 4029 | 48-59.46 N | 164-59.89 E |
| 1 | 46 | 4030 | 47-59.45 N | 165-00.88 E |
| 1 | 47 | 4031 | 46-59.64 N | 165-00.51 E |
| 1 | 48 | 4032 | 45-59.68 N | 165-00.70 E |
| 1 | 49 | 4033 | 44-59.41 N | 164-59.94 E |
| 1 | 50 | 4034 | 44-00.16 N | 165-01.11 E |
| 1 | 51 | 4035 | 43-02.99 N | 164-59.98 E |
| 1 | 52 | 4036 | 42-30.36 N | 164-57.80 E |
| 1 | 53 | 4037 | 42-00.81 N | 164-58.36 E |
| 1 | 54 | 4038 | 41-00.33 N | 165-02.37 E |
| 1 | 55 | 4039 | 40-03.07 N | 164-58.78 E |

Table 3(c).  Station data of RF11-08 cruise. The ‘RF’ column indicates the JMA station identification number.

| Leg | Station | Position |  | Leg | Station | Position |
| --- | --- | --- | --- | --- | --- | --- |
|  | Stn. | RF | Latitude | Longitude |  |  | Stn. | RF | Latitude | Longitude |
| 1 | 56 | 4040 | 40-02.05 N | 165-00.07 E |  | 1 | 94 | 4078 | 14-29.39 N | 164-58.65 E |
| 1 | 57 | 4041 | 39-01.05 N | 165-02.24 E |  | 1 | 95 | 4079 | 13-59.95 N | 164-58.80 E |
| 1 | 58 | 4042 | 37-59.50 N | 164-59.77 E |  | 1 | 96 | 4080 | 13-29.27 N | 164-58.90 E |
| 1 | 59 | 4043 | 37-30.89 N | 165-00.36 E |  | 1 | 97 | 4081 | 12-59.56 N | 164-58.25 E |
| 1 | 60 | 4044 | 37-02.44 N | 165-01.39 E |  | 1 | 98 | 4082 | 12-29.75 N | 164-43.69 E |
| 1 | 61 | 4045 | 36-30.87 N | 165-00.85 E |  | 1 | 99 | 4083 | 12-00.16 N | 164-28.87 E |
| 1 | 62 | 4046 | 35-59.47 N | 164-59.01 E |  | 1 | 100 | 4084 | 11-30.01 N | 164-13.86 E |
| 1 | 63 | 4047 | 35-29.65 N | 165-00.53 E |  | 1 | 101 | 4085 | 11-00.50 N | 163-57.89 E |
| 1 | 64 | 4048 | 35-01.78 N | 165-01.87 E |  | 1 | 102 | 4086 | 10-29.30 N | 163-58.12 E |
| 1 | 65 | 4049 | 34-30.71 N | 165-01.21 E |  | 1 | 103 | 4087 | 10-00.28 N | 163-57.98 E |
| 1 | 66 | 4050 | 34-02.22 N | 165-01.04 E |  | 1 | 104 | 4088 | 9-29.59 N | 163-58.46 E |
| 1 | 67 | 4051 | 33-31.03 N | 165-01.22 E |  | 1 | 105 | 4089 | 8-59.64 N | 163-58.41 E |
| 1 | 68 | 4052 | 32-59.22 N | 165-00.41 E |  | 2 | 106 | 4090 | 9-00.05 N | 163-58.09 E |
| 1 | 69 | 4053 | 31-58.31 N | 164-59.89 E |  | 2 | 107 | 4091 | 8-30.11 N | 163-58.53 E |
| 1 | 70 | 4054 | 30-59.15 N | 164-58.88 E |  | 2 | 108 | 4092 | 8-00.44 N | 163-58.14 E |
| 1 | 71 | 4055 | 29-59.92 N | 165-00.23 E |  | 2 | 109 | 4093 | 7-31.13 N | 164-12.97 E |
| 1 | 72 | 4056 | 29-00.40 N | 165-00.14 E |  | 2 | 110 | 4094 | 7-00.71 N | 164-30.01 E |
| 1 | 73 | 4057 | 27-59.11 N | 165-00.46 E |  | 2 | 111 | 4095 | 6-30.55 N | 164-45.53 E |
| 1 | 74 | 4058 | 27-00.51 N | 165-00.70 E |  | 2 | 112 | 4096 | 6-00.13 N | 165-00.52 E |
| 1 | 75 | 4059 | 26-00.21 N | 164-59.34 E |  | 2 | 113 | 4097 | 5-30.00 N | 165-00.71 E |
| 1 | 76 | 4060 | 24-59.77 N | 164-59.76 E |  | 2 | 114 | 4098 | 4-55.06 N | 164-58.56 E |
| 1 | 77 | 4061 | 24-00.71 N | 164-58.58 E |  | 2 | 115 | 4099 | 4-29.40 N | 165-00.59 E |
| 1 | 78 | 4062 | 23-00.62 N | 164-58.34 E |  | 2 | 116 | 4100 | 3-59.44 N | 165-01.05 E |
| 1 | 79 | 4063 | 21-58.73 N | 165-01.24 E |  | 2 | 117 | 4101 | 3-29.25 N | 165-00.91 E |
| 1 | 80 | 4064 | 21-30.47 N | 164-59.61 E |  | 2 | 118 | 4102 | 2-58.86 N | 165-00.94 E |
| 1 | 81 | 4065 | 21-00.01 N | 164-59.14 E |  | 2 | 119 | 4103 | 2-38.95 N | 165-00.02 E |
| 1 | 82 | 4066 | 20-30.07 N | 164-59.47 E |  | 2 | 120 | 4104 | 2-18.95 N | 165-00.20 E |
| 1 | 83 | 4067 | 19-59.95 N | 164-59.41 E |  | 2 | 121 | 4105 | 1-56.39 N | 164-59.37 E |
| 1 | 84 | 4068 | 19-30.34 N | 164-59.26 E |  | 2 | 122 | 4106 | 1-39.22 N | 165-00.07 E |
| 1 | 85 | 4069 | 19-00.25 N | 164-59.28 E |  | 2 | 123 | 4107 | 1-18.47 N | 165-00.31 E |
| 1 | 86 | 4070 | 18-30.19 N | 164-58.75 E |  | 2 | 124 | 4108 | 0-59.21 N | 164-59.87 E |
| 1 | 87 | 4071 | 18-00.01 N | 164-58.62 E |  | 2 | 125 | 4109 | 0-39.70 N | 164-59.45 E |
| 1 | 88 | 4072 | 17-29.29 N | 164-58.90 E |  | 2 | 126 | 4110 | 0-19.93 N | 165-00.12 E |
| 1 | 89 | 4073 | 16-58.31 N | 164-58.93 E |  | 2 | 127 | 4111 | 0-04.15 S | 164-59.61 E |
| 1 | 90 | 4074 | 16-29.43 N | 164-58.63 E |  | 2 | 128 | 4112 | 0-20.32 S | 164-59.73 E |
| 1 | 91 | 4075 | 15-59.41 N | 164-59.70 E |  | 2 | 129 | 4113 | 0-39.82 S | 165-00.21 E |
| 1 | 92 | 4076 | 15-28.96 N | 164-59.29 E |  | 2 | 130 | 4114 | 1-00.12 S | 165-00.90 E |
| 1 | 93 | 4077 | 15-00.00 N | 164-58.81 E |  | 2 | 131 | 4115 | 1-19.79 S | 165-00.40 E |
| Leg | Station | Position |
|  | Stn. | RF | Latitude | Longitude |
| 2 | 132 | 4116 | 1-40.01 S | 165-00.78 E |
| 2 | 133 | 4117 | 1-56.30 S | 165-00.72 E |
| 2 | 134 | 4118 | 2-20.71 S | 165-00.83 E |
| 2 | 135 | 4119 | 2-40.75 S | 165-00.22 E |
| 2 | 136 | 4120 | 3-00.68 S | 164-59.06 E |
| 2 | 137 | 4121 | 3-30.82 S | 164-59.08 E |
| 2 | 138 | 4122 | 4-00.38 S | 164-58.79 E |
| 2 | 139 | 4123 | 4-30.02 S | 164-58.59 E |
| 2 | 140 | 4124 | 5-00.30 S | 164-58.52 E |
| 2 | 141 | 4125 | 5-23.11 S | 164-29.01 E |
| 2 | 142 | 4126 | 5-45.90 S | 163-58.25 E |
| 2 | 143 | 4127 | 6-08.52 S | 163-29.07 E |
| 2 | 144 | 4128 | 6-30.58 S | 162-58.61 E |
| 2 | 145 | 4129 | 6-54.00 S | 162-26.88 E |
| 2 | 146 | 4130 | 7-05.66 S | 162-12.13 E |
| 2 | 147 | 4131 | 7-14.35 S | 161-57.94 E |
| 2 | 148 | 4132 | 7-25.98 S | 161-44.47 E |
| 2 | 149 | 4133 | 7-36.95 S | 161-29.12 E |
| 2 | 150 | 4134 | 7-47.74 S | 161-13.89 E |
| 2 | 151 | 4135 | 7-58.40 S | 161-00.67 E |

- List of Principal Investigators for all Measurements

The principal investigator (PI) and the person in charge responsible for major parameters measured on the cruise are listed in Table 4.

Table 4(a).  List of principal investigator and the person in charge on the ship for RF11-06.

Item			Principal Investigator（PI）	Person in charge on the ship

Hydrography

CTDO2 / LADCP		Hitomi KAMIYA			Tatsuo NAKAMURA

Salinity 			Hitomi KAMIYA			Tatsuo NAKAMURA

Dissolved oxygen		Hitomi KAMIYA			Yusuke TAKATANI

Nutrients			Hitomi KAMIYA			Takahiro KITAGAWA

Phytopigment		Hitomi KAMIYA			Sonoki IWANO

DIC			Hitomi KAMIYA			Shu SAITO

Total Alkalinity		Hitomi KAMIYA			Shu SAITO

pH			Hitomi KAMIYA			Shu SAITO

CFCs			Hitomi KAMIYA			Kazuki ISHIMARU

Underway

Meteorology		Hitomi KAMIYA			Tatsuo NAKAMURA

Thermo-Salinograph	Hitomi KAMIYA			Shu SAITO

pCO2			Hitomi KAMIYA			Shu SAITO

Chlorophyll-a		Hitomi KAMIYA			Sonoki IWANO

ADCP			Hitomi KAMIYA			Tatsuo NAKAMURA

Bathymetry		Hitomi KAMIYA			Tatsuo NAKAMURA

Floats

Sub-surface Profiling float	Hitomi KAMIYA			Toshiya NAKANO

Hitomi KAMIYA (hkamiya@met.kishou.go.jp)

Marine Division, Global Environment and Marine Department, JMA

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341 Ext.　5150	FAX: +81-3-3211-6908

Table 4(b).  List of principal investigator and the person in charge on the ship for RF11-07.

Item			Principal Investigator（PI）	Person in charge on the ship

Hydrography

CTDO2 / LADCP		Hitomi KAMIYA			Tetsuya NAKAMURA

Salinity 			Hitomi KAMIYA			Tetsuya NAKAMURA

Dissolved oxygen		Hitomi KAMIYA			Shinichiro UMEDA

Nutrients			Hitomi KAMIYA			Naoki NAGAI

phytopigment		Hitomi KAMIYA			Naoki NAGAI

DIC			Hitomi KAMIYA			Shinji MASUDA

Total Alkalinity		Hitomi KAMIYA			Shinji MASUDA

pH			Hitomi KAMIYA			Shinji MASUDA

CFCs			Hitomi KAMIYA			Takayuki TOKIEDA

14C			Yuichiro KUMAMOTO		Shinji MASUDA

Underway

Meteorology		Hitomi KAMIYA			Tetsuya NAKAMURA

Thermo-Salinograph	Hitomi KAMIYA			Takayuki TOKIEDA

pCO2			Hitomi KAMIYA			Takayuki TOKIEDA

Chlorophyll-a		Hitomi KAMIYA			Naoki NAGAI

ADCP			Hitomi KAMIYA			Tetsuya NAKAMURA

Bathymetry		Hitomi KAMIYA			Tetsuya NAKAMURA

Floats

ARGO float		Toshio SUGA			Toshiya NAKANO

Hitomi KAMIYA (hkamiya@met.kishou.go.jp)

Marine Division, Global Environment and Marine Department, JMA

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341 Ext.　5150	FAX: +81-3-3211-6908

Yuichiro KUMAMOTO (kumamoto@jamstec.go.jp)

Ocean Climate Change Research Program

Research Institute for Global Change (RIGC)

Japan Agency for Marine-Earth Science and Technology (JAMSTEC)

2-15 Natsushima, Yokosuka, Kanagawa, Japan 237-0061

Toshio SUGA (sugat@jamstec.go.jp)

Ocean Climate Change Research Program

Research Institute for Global Change (RIGC)

Japan Agency for Marine-Earth Science and Technology (JAMSTEC)

2-15 Natsushima, Yokosuka, Kanagawa, Japan 237-0061

Table 4(c).  List of principal investigator and the person in charge on the ship for RF11-08.

Item			Principal Investigator（PI）	Person in charge on the ship

Hydrography

CTDO2 / LADCP		Hitomi KAMIYA			Tetsuya NAKAMURA

Salinity 			Hitomi KAMIYA			Tetsuya NAKAMURA

Dissolved oxygen		Hitomi KAMIYA			Yusuke TAKATANI

Nutrients			Hitomi KAMIYA			Naoki NAGAI

Phytopigment		Hitomi KAMIYA			Naoki NAGAI

DIC			Hitomi KAMIYA			Shu SAITO

Total Alkalinity		Hitomi KAMIYA			Shu SAITO

pH			Hitomi KAMIYA			Shu SAITO

CFCs			Hitomi KAMIYA			Kazuki ISHIMARU

14C			Yuichiro KUMAMOTO		Shu SAITO

Underway

Meteorology		Hitomi KAMIYA			Tetsuya NAKAMURA

Thermo-Salinograph	Hitomi KAMIYA			Shu SAITO

pCO2			Hitomi KAMIYA			Shu SAITO

Chlorophyll-a		Hitomi KAMIYA			Naoki NAGAI

ADCP			Hitomi KAMIYA			Tetsuya NAKAMURA

Bathymetry		Hitomi KAMIYA			Tatsuo NAKAMURA

Floats

ARGO float		Toshio SUGA			Toshiya NAKANO

Hitomi KAMIYA (hkamiya@met.kishou.go.jp)

Marine Division, Global Environment and Marine Department, JMA

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341 Ext.　5150	FAX: +81-3-3211-6908

Yuichiro KUMAMOTO (kumamoto@jamstec.go.jp)

Ocean Climate Change Research Program

Research Institute for Global Change (RIGC)

Japan Agency for Marine-Earth Science and Technology (JAMSTEC)

2-15 Natsushima, Yokosuka, Kanagawa, Japan 237-0061

Toshio SUGA (sugat@jamstec.go.jp)

Ocean Climate Change Research Program

Research Institute for Global Change (RIGC)

Japan Agency for Marine-Earth Science and Technology (JAMSTEC)

2-15 Natsushima, Yokosuka, Kanagawa, Japan 237-0061

- Scientific Program and Methods

In recent years, the global environmental issues such as global warming and climate change have become one of the major socio-economic concerns, and it has become apparent that the ocean plays a key role in the climate system. For the better understanding and assessment of global environmental conditions, continuous monitoring of climate variables, concentrations of greenhouse gases both in the ocean and in the atmosphere. To meet those requirements, JMA has been conducting operational oceanographic observations by research vessels in the western North Pacific on a seasonal basis. RF11-06, RF11-07 and RF11-08 cruises are one of these activities. The purposes of this cruise are as follows:

(1) To observe profiles of seawater temperature, salinity, dissolved oxygen, nutrients and carbon parameters, as well as upper ocean current;

(2) To observe concentrations of greenhouse gases both in the ocean and in the atmosphere;

(3) To observe bio-geochemical parameters to study carbon cycle in the ocean.

These activities are expected to contribute to international projects related to global environmental issues such as the World Climate Research Programme (WCRP), IOCCP (International Ocean Carbon Coordination Project) and the Global Atmosphere Watch (GAW).

- Major Problems and Goals not Achieved

RF11-06

Since there was a lot of debris on the sea surface east of Japan after the Tohoku earthquake on March 11, 2011, we stopped to sail and drifted one night at about 38°40’N, 143°18’E on May 16. During the observation at Stn.7(42°N, 146°12’E), the armored cable hitched a radio buoy with fishing net, so we gave up the observation below 2000 m depth and water sampling at the station.

RF11-07

Owing to the troubles in CTD winch and the unfavorable sea state due to the storms, insufficient time was available to complete the section as planned, and station spacing increased to 60 nautical miles between 50°N and 43°N, and between 42°N and 40°N.

RF11-08

Because of the trouble in the previous cruise, RF11-07, the first station of this cruise was changed from 38°N to 40°N, and station spacing increased to 60 nautical miles between 40°N and 38°N, and between 33°N and 22°N.

- List of Cruise Participants

The cruise participants of the three cruises are listed in Table 5.

Table 5(a).  List of cruise participants for RF11-06.

Name				Responsibility			Affiliation

Ayumi HASHIZUME		CTDO / ADCP / LADCP / Salinity	GEMD / JMA

Hiroyuki HATAKEYAMA		Carbon Items/CFCs		GEMD / JMA

Yoshikazu HIGASHI		CTDO / ADCP / LADCP / Salinity	GEMD / JMA

Masaya IKEDA			Dissolved Oxygen 		GEMD / JMA

Kazuki ISHIMARU		Carbon Items /CFCs		GEMD / JMA

Sonoki IWANO			Nutrients	 / Phytopigment		GEMD / JMA

Takahiro KITAGAWA		Nutrients				GEMD / JMA

Kiyoshi MURAKAMI 		CTDO / ADCP / LADCP / Salinity	GEMD / JMA

Tatsuo NAKAMURA		Meteorology / Bathymetry 		GEMD / JMA

Toshiya NAKANO		Chief Scientist			GEMD / JMA

Hidemi OGAHARA		Dissolved Oxygen			GEMD / JMA

Etsuro ONO 			Carbon Items/CFCs		GEMD / JMA

Shu SAITO			Carbon Items/CFCs		GEMD / JMA

Ryosuke SAKAKIBARA		Nutrients 			GEMD / JMA

Yusuke TAKATANI		Dissolved Oxygen			GEMD / JMA

Shinichiro UMEDA		Dissolved Oxygen / Phytopigment 	GEMD / JMA

Koichi WADA 			CTDO / ADCP / LADCP / Salinity 	GEMD / JMA

GEMD / JMA: Marine Division, Global Environment and Marine Department, JMA

Table 5(b).  List of cruise participants for RF11-07.

Name				Responsibility			Affiliation

Kazutaka ENYO			Carbon Items 			GEMD / JMA

Hiroyuki FUJIWARA		Nutrients				GEMD / JMA

Sho HIBINO			Dissolved Oxygen			GEMD / JMA

Nobumi KATO			CTDO / ADCP / LADCP		GEMD / JMA

Tomoyuki KITAMURA		CTDO / ADCP / LADCP		GEMD / JMA

Atsushi KOJIMA			Salinity				GEMD / JMA

Shinji MASUDA			Carbon Items			GEMD / JMA

Kiyoshi MURAKAMI 		CTDO / ADCP / LADCP		GEMD / JMA

Tetsuya NAKAMURA 		Meteorology / Bathymetry	 	GEMD / JMA

Naoki NAGAI			Nutrients / Phytopigment		GEMD / JMA

Toshiya NAKANO		Chief Scientist			GEMD / JMA

Ryosuke SAKAKIBARA		Dissolved Oxygen			GEMD / JMA

Naoaki SAKAMOTO		CFCs				GEMD / JMA

Daisuke SASANO			Carbon Items			MRI / JMA

Hiroumi SHIGEOKA		Salinity				GEMD / JMA

Yoshihiro SHINODA		CFCs				GEMD / JMA

Takayuki TOKIEDA		CFCs				GEMD / JMA

Tomohiro UEHARA		Nutrients 			GEMD / JMA

Shinichiro UMEDA		Dissolved Oxygen 		GEMD / JMA

Koichi WADA 			Salinity 				GEMD / JMA

GEMD / JMA: Marine Division, Global Environment and Marine Department, JMA

MRI / JMA: Geochemical Research Department, Meteorological Research Institute, JMA

Table 5(c).  List of cruise participants for RF11-08.

Name				Responsibility			Affiliation

Hiroyuki FUJIWARA		Nutrients				GEMD / JMA

Sho HIBINO			Dissolved Oxygen			GEMD / JMA

Kazuki ISHIMARU		CFCs				GEMD / JMA

Nobumi KATO			CTDO / ADCP / LADCP		GEMD / JMA

Takahiro KITAGAWA		Nutrients				GEMD / JMA

Tomoyuki KITAMURA		CTDO / ADCP / LADCP		GEMD / JMA

Atsushi KOJIMA			Salinity				GEMD / JMA

Shinya MAEDA			Carbon Items			GEMD / JMA

Shinji MASUDA			Carbon Items			GEMD / JMA

Tetsuya NAKAMURA 		Meteorology / Bathymetry	 	GEMD / JMA

Naoki NAGAI			Nutrients / Phytopigment		GEMD / JMA

Toshiya NAKANO		Chief Scientist			GEMD / JMA

Hiroumi SHIGEOKA		Salinity				GEMD / JMA

Etsuro ONO			CFCs				GEMD / JMA

Hidemi OGAHARA		Dissolved Oxygen			GEMD / JMA

Shu SAITO			Carbon Items			GEMD / JMA

Haruka SUEMATSU		CFCs				GEMD / JMA

Yusuke TAKATANI		Dissolved Oxygen			GEMD / JMA

Masahiro TANIGUCHI		CTDO / ADCP / LADCP		GEMD / JMA

Koichi WADA 			Salinity 				GEMD / JMA

GEMD / JMA: Marine Division, Global Environment and Marine Department, JMA