## Report
additional identification columns included in original client sample spreadsheet are the last columns on this page
[23 empty] | Primary pigments | [11 empty] | Secondary pigments | [6 empty] | Tertiary pigments | [5 empty] | Ancillary pigment | Pigment Sums | [7 empty] | Pigment ratios
[23 empty] | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l
GSFC Lab sample code | PI | Sample Label | Cruise ID | Indicate if filters are replicates | Volume filtered (ml) | Station | NISKIN Bottle Number | Sampling Depth (meters) | Total Water Depth (meters) | Name of Water Body | Year | Month | Day of Gregorian Month | Sequential Day of Year | GMT Time | Longitude | Latitude | Filter type | Filter Diameter (mm) | Filter storage before shipping to GSFC | date extracted (month/day/year) | Vx (ml) | [Tot_Chl_a] | [Tot_Chl_b] | [Tot_Chl_c] | [Alpha_beta_Car] | [But fuco] | [Hex fuco] | [Allo] | [Diadino] | [Diato] | [Fuco] | [Perid] | [Zea] | [MV_Chl_a] | [DV_Chl_a] | [Chlide_a] | [MV_Chl _b] | [DV_Chl_b] | [Chl c1c2] | [Chl_c3] | [Lut] | [Neo] | [Viola] | [Phytin_a] | [Phide_a] | [Pras] | [Gyro] | [TChl] | [PPC] | [PSC] | [PSP] | [TCar] | [TAcc] | [TPg] | [DP] | [TAcc]/[Tchla] | [PSC]/[TCar] | [PPC]/[TCar] | [TChl]/[TCar] | [PPC]/[Tpg] | [PSP]/[TPg] | [TChl a]/[TPg] | comments | sample bottle no
06-1600 | Boss, Emmanuel | hplc sta 02 0m | P17 |  | 1000 | 1 | bucket | 0 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.7351 | 0.968 | 0.003 | 0.532 | 0.026 | 0.028 | 0.097 | 0.003 | 0.198 | 0.012 | 0.611 | 0.026 | 0.001 | 0.847 | -8888 | 0.121 | 0.003 | -8888 | 0.387 | 0.145 | -8888 | 0.002 | 0.002 | 0.009 | 0.177 | 0.002 | -8888 | 1.503 | 0.24 | 0.762 | 2.265 | 1.002 | 1.537 | 2.505 | 0.769 | 1.59 | 0.76 | 0.24 | 1.5 | 0.1 | 0.9 | 0.39 |  | 1 | 0
06-1601 | Boss, Emmanuel | hplc sta 02 3-1 | P17 |  | 1000 | 2 | 3 | 20 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.7899 | 0.891 | 0.003 | 0.5 | 0.023 | 0.025 | 0.101 | 0.004 | 0.19 | 0.012 | 0.584 | 0.021 | 0.001 | 0.752 | -8888 | 0.139 | 0.003 | -8888 | 0.355 | 0.145 | -8888 | 0.001 | 0.002 | 0.015 | 0.191 | 0.001 | -8888 | 1.394 | 0.23 | 0.731 | 2.125 | 0.961 | 1.464 | 2.355 | 0.739 | 1.64 | 0.76 | 0.24 | 1.45 | 0.1 | 0.9 | 0.38 |  | 2 | chl-a max
06-1602 | Boss, Emmanuel | hplc sta 02 3-2 | P17 |  | 1000 | 2 | 3 | 20 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.7408 | 0.873 | 0.002 | 0.491 | 0.023 | 0.025 | 0.099 | 0.003 | 0.19 | 0.008 | 0.57 | 0.02 | 0.001 | 0.736 | -8888 | 0.137 | 0.002 | -8888 | 0.351 | 0.14 | -8888 | 0.002 | 0.002 | 0.01 | 0.189 | 0.001 | -8888 | 1.366 | 0.225 | 0.714 | 2.08 | 0.939 | 1.432 | 2.305 | 0.72 | 1.64 | 0.76 | 0.24 | 1.45 | 0.1 | 0.9 | 0.38 |  | 2 | chl-a max
06-1603 | Boss, Emmanuel | hplc sta 02 dry blank | P17 |  | 1 | dry blank | [15 empty] | 2.5942 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 |  | dry blank | 0
06-1604 | Boss, Emmanuel | hplc sta 04 0m | P17 |  | 1000 | 1 | bucket | 0 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.682 | 0.756 | 0.004 | 0.326 | 0.019 | 0.045 | 0.067 | 0.003 | 0.152 | 0.013 | 0.431 | 0.022 | 0.002 | 0.7 | -8888 | 0.056 | 0.004 | -8888 | 0.228 | 0.098 | -8888 | 0.001 | 0.003 | 0.006 | 0.046 | -8888 | -8888 | 1.086 | 0.189 | 0.565 | 1.651 | 0.754 | 1.084 | 1.84 | 0.574 | 1.43 | 0.75 | 0.25 | 1.44 | 0.1 | 0.9 | 0.41 |  | 1 | 0
06-1605 | Boss, Emmanuel | hplc sta 04 3-1 | P17 |  | 1000 | 2 | 3 | 30 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.6805 | 0.638 | 0.003 | 0.239 | 0.013 | 0.04 | 0.064 | 0.002 | 0.1 | 0.007 | 0.368 | 0.019 | 0.002 | 0.597 | -8888 | 0.041 | 0.003 | -8888 | 0.162 | 0.077 | -8888 | 0.001 | 0.003 | 0.007 | 0.03 | -8888 | -8888 | 0.88 | 0.124 | 0.491 | 1.371 | 0.615 | 0.857 | 1.495 | 0.498 | 1.34 | 0.8 | 0.2 | 1.43 | 0.08 | 0.92 | 0.43 |  | 2 | chl-a max
06-1606 | Boss, Emmanuel | hplc sta 04 3-2 | P17 |  | 1000 | 2 | 3 | 30 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.7215 | 0.66 | 0.004 | 0.25 | 0.014 | 0.04 | 0.066 | 0.002 | 0.104 | 0.006 | 0.381 | 0.018 | 0.002 | 0.6 | -8888 | 0.06 | 0.004 | -8888 | 0.171 | 0.079 | -8888 | 0.001 | 0.003 | 0.008 | 0.034 | -8888 | -8888 | 0.914 | 0.128 | 0.505 | 1.419 | 0.633 | 0.887 | 1.547 | 0.513 | 1.34 | 0.8 | 0.2 | 1.44 | 0.08 | 0.92 | 0.43 |  | 2 | chl-a max
06-1607 | Boss, Emmanuel | hplc sta 04 dry blank | P17 |  | 1 | dry blank | [15 empty] | 2.5918 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 |  | dry blank | 0
06-1608 | Boss, Emmanuel | hplc sta 08 0m | P17 |  | 2000 | 1 | bucket | 0 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.8324 | 0.194 | 0.003 | 0.072 | 0.004 | 0.017 | 0.063 | 0.001 | 0.032 | 0.001 | 0.064 | 0.009 | 0.001 | 0.182 | -8888 | 0.012 | 0.003 | -8888 | 0.048 | 0.024 | -8888 | -8888 | 0.001 | 0.002 | 0.005 | -8888 | -8888 | 0.269 | 0.039 | 0.153 | 0.422 | 0.192 | 0.267 | 0.461 | 0.158 | 1.38 | 0.8 | 0.2 | 1.4 | 0.08 | 0.92 | 0.42 |  | 1 | 0
06-1609 | Boss, Emmanuel | hplc sta 08 3-1 | P17 |  | 2000 | 2 | 3 | 65 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.7644 | 0.254 | 0.002 | 0.119 | 0.005 | 0.041 | 0.095 | 0.003 | 0.013 | -8888 | 0.105 | 0.002 | -8888 | 0.245 | -8888 | 0.009 | 0.002 | -8888 | 0.048 | 0.071 | -8888 | -8888 | 0.001 | 0.003 | 0.015 | 0.001 | -8888 | 0.375 | 0.021 | 0.243 | 0.618 | 0.264 | 0.385 | 0.639 | 0.248 | 1.52 | 0.92 | 0.08 | 1.42 | 0.03 | 0.97 | 0.4 |  | 2 | chl-a max
06-1610 | Boss, Emmanuel | hplc sta 08 3-2 | P17 |  | 2000 | 2 | 3 | 65 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.7582 | 0.256 | 0.002 | 0.121 | 0.005 | 0.04 | 0.094 | 0.003 | 0.013 | -8888 | 0.108 | 0.002 | -8888 | 0.248 | -8888 | 0.008 | 0.002 | -8888 | 0.05 | 0.071 | -8888 | -8888 | 0.001 | 0.003 | 0.013 | 0.001 | -8888 | 0.379 | 0.021 | 0.244 | 0.623 | 0.265 | 0.388 | 0.644 | 0.249 | 1.52 | 0.92 | 0.08 | 1.43 | 0.03 | 0.97 | 0.4 |  | 2 | chl-a max
06-1611 | Boss, Emmanuel | hplc sta 08 dry blank | P17 |  | 1 | dry blank |  |  |  |  | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.5759 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 |  | dry blank | 0
06-1612 | Boss, Emmanuel | hplc sta 18 0m | P17 |  | 2000 | 1 | bucket | 0 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 2017-04-12 | 2.7405 | 0.151 | 0.016 | 0.063 | 0.004 | 0.018 | 0.073 | 0.001 | 0.028 | 0.001 | 0.025 | 0.008 | 0.001 | 0.143 | -8888 | 0.008 | 0.016 | -8888 | 0.039 | 0.024 | -8888 | 0.002 | 0.005 | -8888 | 0.005 | -8888 | -8888 | 0.23 | 0.035 | 0.124 | 0.354 | 0.159 | 0.238 | 0.389 | 0.142 | 1.58 | 0.78 | 0.22 | 1.45 | 0.09 | 0.91 | 0.39 |  | 1 | 0
06-1613 | Boss, Emmanuel | hplc sta 18 cast 3-1 | P17 |  | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 2017-04-13 | 2.7504 | 0.235 | 0.008 | 0.106 | 0.005 | 0.044 | 0.118 | 0.002 | 0.017 | -8888 | 0.052 | 0.004 | 0.001 | 0.226 | -8888 | 0.009 | 0.008 | -8888 | 0.048 | 0.058 | -8888 | 0.001 | 0.002 | 0.002 | 0.011 | 0.001 | -8888 | 0.349 | 0.025 | 0.218 | 0.567 | 0.243 | 0.357 | 0.592 | 0.229 | 1.52 | 0.9 | 0.1 | 1.44 | 0.04 | 0.96 | 0.4 |  | 2 | chl-a max
06-1614 | Boss, Emmanuel | hplc sta 18 cast 3-2 | P17 |  | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 2017-04-13 | 2.6367 | 0.231 | 0.008 | 0.105 | 0.005 | 0.043 | 0.113 | 0.002 | 0.017 | -8888 | 0.051 | 0.004 | 0.001 | 0.222 | -8888 | 0.009 | 0.008 | -8888 | 0.048 | 0.057 | -8888 | 0.001 | 0.002 | 0.002 | 0.011 | 0.001 | -8888 | 0.344 | 0.025 | 0.211 | 0.555 | 0.236 | 0.349 | 0.58 | 0.222 | 1.51 | 0.89 | 0.11 | 1.46 | 0.04 | 0.96 | 0.4 |  | 2 | chl-a max
06-1615 | Boss, Emmanuel | hplc sta 18 dry blank | P17 |  | 1 | dry blank | [15 empty] | 2.5857 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 |  | dry blank | 0
06-1616 | Boss, Emmanuel | hplc sta 24 0m | P17 |  | 3000 | 1 | bucket | 0 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 2017-04-13 | 2.7118 | 0.227 | 0.031 | 0.088 | 0.006 | 0.028 | 0.129 | 0.002 | 0.029 | 0.001 | 0.022 | 0.008 | 0.002 | 0.218 | -8888 | 0.009 | 0.031 | -8888 | 0.045 | 0.043 | 0.002 | 0.003 | 0.006 | 0.002 | 0.005 | 0.001 | -8888 | 0.346 | 0.04 | 0.187 | 0.533 | 0.227 | 0.346 | 0.573 | 0.222 | 1.52 | 0.82 | 0.18 | 1.52 | 0.07 | 0.93 | 0.4 |  | 1 | 0
06-1617 | Boss, Emmanuel | hplc sta 24 3-1 | P17 |  | 3000 | 2 | 3 | 30 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 2017-04-13 | 2.674 | 0.229 | 0.031 | 0.086 | 0.006 | 0.028 | 0.131 | 0.003 | 0.028 | 0.001 | 0.023 | 0.007 | 0.002 | 0.22 | -8888 | 0.009 | 0.031 | -8888 | 0.042 | 0.044 | 0.003 | 0.003 | 0.006 | 0.002 | 0.006 | 0.001 | -8888 | 0.346 | 0.04 | 0.189 | 0.535 | 0.229 | 0.346 | 0.575 | 0.225 | 1.51 | 0.83 | 0.17 | 1.51 | 0.07 | 0.93 | 0.4 |  | 2 | chl-a max
06-1618 | Boss, Emmanuel | hplc sta 24 3-2 | P17 |  | 3000 | 2 | 3 | 30 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 2017-04-13 | 2.6775 | 0.235 | 0.037 | 0.085 | 0.006 | 0.028 | 0.125 | 0.002 | 0.027 | 0.001 | 0.023 | 0.008 | 0.002 | 0.226 | -8888 | 0.009 | 0.037 | -8888 | 0.042 | 0.043 | 0.003 | 0.004 | 0.007 | 0.002 | 0.006 | 0.001 | -8888 | 0.357 | 0.038 | 0.184 | 0.541 | 0.222 | 0.344 | 0.579 | 0.225 | 1.46 | 0.83 | 0.17 | 1.61 | 0.07 | 0.93 | 0.41 |  | 2 | chl-a max
06-1619 | Boss, Emmanuel | hplc sta 24 dry blank | P17 |  | 1 | dry blank | [15 empty] | 2.5731 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 | -8888 |  | dry blank | 0

## Analysis precision
CV% | TChl a = | 0.43%
| Ppig = | 0.535%
| n = | 1
[21 empty] | Primary pigments | [11 empty] | Secondary pigments | [6 empty] | Tertiary pigments | [5 empty] | Ancillary pigment | Pigment Sums | [7 empty] | Pigment ratios | [6 empty] | CV% | CV%
[21 empty] | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l
GSFC Lab sample code | PI | Sample Label | Cruise ID | Indicate if filters are replicates | Volume filtered (ml) | Station | NISKIN Bottle Number | Sampling Depth (meters) | Total Water Depth (meters) | Name of Water Body | Year | Month | Day of Gregorian Month | Sequential Day of Year | GMT Time | Longitude | Latitude | Filter type | Filter Diameter (mm) | Filter storage before shipping to GSFC | [TChl a] | [TChl b] | [TChl c] | [Car] | [But fuco] | [Hex fuco] | [Allo] | [Diad] | [Diato] | [Fuco] | [Perid] | [Zea] | [Chl a] | [DVChl a] | [Chlide a] | [Chl b] | [DVChl b] | [Chl c1c2] | [Chl c3] | [Lut] | [Neo] | [Viola] | [Phytin a] | [Phide a] | [Pras] | [Gyr diester] | [TChl] | [PPC] | [PSC] | [PSP] | [TCar] | [TAcc] | [TPg] | [DP] | [TAcc]/[Tchla] | [PSC]/[TCar] | [PPC]/[TCar] | [TChl]/[TCar] | [PPC]/[Tpg] | [PSP]/[TPg] | [TChl a]/[TPg] | TChl a | PPIG
06-1613 | Boss, Emmanuel | hplc sta 18 cast 3-1 | P17 | 0 | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 0.235 | 0.008 | 0.106 | 0.005 | 0.044 | 0.118 | 0.002 | 0.017 | -8888 | 0.052 | 0.004 | 0.001 | 0.226 | -8888 | 0.009 | 0.008 | -8888 | 0.048 | 0.058 | -8888 | 0.001 | 0.002 | 0.002 | 0.011 | 0.001 | -8888 | 0.349 | 0.025 | 0.218 | 0.567 | 0.243 | 0.357 | 0.592 | 0.229 | 1.52 | 0.9 | 0.1 | 1.44 | 0.04 | 0.96 | 0.4
06-1613.5 | Boss, Emmanuel | hplc sta 18 cast 3-1 | P17 | 0 | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 0.233 | 0.008 | 0.104 | 0.005 | 0.043 | 0.117 | 0.002 | 0.017 | -8888 | 0.051 | 0.004 | 0.001 | 0.225 | -8888 | 0.008 | 0.008 | -8888 | 0.047 | 0.057 | -8888 | 0.001 | 0.002 | 0.003 | 0.012 | 0.001 | -8888 | 0.345 | 0.025 | 0.215 | 0.56 | 0.24 | 0.352 | 0.585 | 0.226 | 1.51 | 0.9 | 0.1 | 1.44 | 0.04 | 0.96 | 0.4
[20 empty] | AVG | 0.234 | 0.008 | 0.105 | 0.005 | 0.044 | 0.118 | 0.002 | 0.017 | -8888 | 0.052 | 0.004 | 0.001 | 0.226 | -8888 | 0.009 | 0.008 | -8888 | 0.048 | 0.058 | -8888 | 0.001 | 0.002 | 0.003 | 0.012 | 0.001 | -8888 | 0.347 | 0.025 | 0.2165 | 0.5635 | 0.2415 | 0.3545 | 0.5885 | 0.2275 | 1.515 | 0.9 | 0.1 | 1.44 | 0.04 | 0.96 | 0.4
[20 empty] | S.D. | 0.001 | 0 | 0.001 | 0 | 0.001 | 0.001 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0.001 | 0 | 0.001 | 0 | 0 | 0.001 | 0.001 | 0 | 0 | 0 | 0.001 | 0.001 | 0 | 0 | 0.0028284 | 0 | 0.0021213 | 0.0049497 | 0.0021213 | 0.0035355 | 0.0049497 | 0.0021213 | 0.0070711 | 0 | 0 | 0 | 0 | 0 | 0
[20 empty] | CV% | 0.43% | 0% | 0.95% | 0% | 2.27% | 0.85% | 0% | 0% | 0% | 1.92% | 0% | 0% | 0.44% | 0% | 11.11% | 0% | 0% | 2.08% | 1.72% | 0% | 0% | 0% | 33.33% | 8.33% | 0% | 0% | 0.82% | 0% | 0.98% | 0.88% | 0.88% | 1% | 0.84% | 0.93% | 0.47% | 0% | 0% | 0% | 0% | 0% | 0% | 0.43% | 0.535%

## Replicate filter precision
CV% | TChl a = | 1.468%
| Ppig = | 4.107%
| n = | 5
[21 empty] | Primary pigments | [11 empty] | Secondary pigments | [6 empty] | Tertiary pigments | [5 empty] | Ancillary pigment | Pigment Sums | [7 empty] | Pigment ratios | [6 empty] | CV% | CV%
[21 empty] | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l | ug/l
GSFC Lab sample code | PI | Sample Label | Cruise ID | Indicate if filters are replicates | Volume filtered (ml) | Station | NISKIN Bottle Number | Sampling Depth (meters) | Total Water Depth (meters) | Name of Water Body | Year | Month | Day of Gregorian Month | Sequential Day of Year | GMT Time | Longitude | Latitude | Filter type | Filter Diameter (mm) | Filter storage before shipping to GSFC | [TChl a] | [TChl b] | [TChl c] | [Car] | [But fuco] | [Hex fuco] | [Allo] | [Diad] | [Diato] | [Fuco] | [Perid] | [Zea] | [Chl a] | [DVChl a] | [Chlide a] | [Chl b] | [DVChl b] | [Chl c1c2] | [Chl c3] | [Lut] | [Neo] | [Viola] | [Phytin a] | [Phide a] | [Pras] | [Gyr diester] | [TChl] | [PPC] | [PSC] | [PSP] | [TCar] | [TAcc] | [TPg] | [DP] | [TAcc]/[Tchla] | [PSC]/[TCar] | [PPC]/[TCar] | [TChl]/[TCar] | [PPC]/[Tpg] | [PSP]/[TPg] | [TChl a]/[TPg] | TChl a | PPIG
06-1601 | Boss, Emmanuel | hplc sta 02 3-1 | P17 | 0 | 1000 | 2 | 3 | 20 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 0.891 | 0.003 | 0.5 | 0.023 | 0.025 | 0.101 | 0.004 | 0.19 | 0.012 | 0.584 | 0.021 | 0.001 | 0.752 | -8888 | 0.139 | 0.003 | -8888 | 0.355 | 0.145 | -8888 | 0.001 | 0.002 | 0.015 | 0.191 | 0.001 | -8888 | 1.394 | 0.23 | 0.731 | 2.125 | 0.961 | 1.464 | 2.355 | 0.739 | 1.64 | 0.76 | 0.24 | 1.45 | 0.1 | 0.9 | 0.38
06-1602 | Boss, Emmanuel | hplc sta 02 3-2 | P17 | 0 | 1000 | 2 | 3 | 20 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 0.873 | 0.002 | 0.491 | 0.023 | 0.025 | 0.099 | 0.003 | 0.19 | 0.008 | 0.57 | 0.02 | 0.001 | 0.736 | -8888 | 0.137 | 0.002 | -8888 | 0.351 | 0.14 | -8888 | 0.002 | 0.002 | 0.01 | 0.189 | 0.001 | -8888 | 1.366 | 0.225 | 0.714 | 2.08 | 0.939 | 1.432 | 2.305 | 0.72 | 1.64 | 0.76 | 0.24 | 1.45 | 0.1 | 0.9 | 0.38
[20 empty] | AVG | 0.882 | 0.003 | 0.496 | 0.023 | 0.025 | 0.1 | 0.004 | 0.19 | 0.01 | 0.577 | 0.021 | 0.001 | 0.744 | -8888 | 0.138 | 0.003 | -8888 | 0.353 | 0.143 | -8888 | 0.002 | 0.002 | 0.013 | 0.19 | 0.001 | -8888 | 1.38 | 0.228 | 0.723 | 2.103 | 0.95 | 1.45 | 2.33 | 0.73 | 1.64 | 0.76 | 0.24 | 1.45 | 0.1 | 0.9 | 0.38
[20 empty] | S.D. | 0.013 | 0.001 | 0.006 | 0 | 0 | 0.001 | 0.001 | 0 | 0.003 | 0.01 | 0.001 | 0 | 0.011 | 0 | 0.001 | 0.001 | 0 | 0.003 | 0.004 | 0 | 0.001 | 0 | 0.004 | 0.001 | 0 | 0 | 0.02 | 0.004 | 0.012 | 0.032 | 0.016 | 0.02 | 0.04 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[20 empty] | CV% | 1.47% | 33.33% | 1.21% | 0% | 0% | 1% | 25% | 0% | 30% | 1.73% | 4.76% | 0% | 1.48% | 0% | 0.72% | 33.33% | 0% | 0.85% | 2.8% | 0% | 50% | 0% | 30.77% | 0.53% | 0% | 0% | 1.45% | 1.75% | 1.66% | 1.52% | 1.68% | 1.38% | 1.72% | 1.37% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.47% | 8.208%
06-1605 | Boss, Emmanuel | hplc sta 04 3-1 | P17 | 0 | 1000 | 2 | 3 | 30 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 0.638 | 0.003 | 0.239 | 0.013 | 0.04 | 0.064 | 0.002 | 0.1 | 0.007 | 0.368 | 0.019 | 0.002 | 0.597 | -8888 | 0.041 | 0.003 | -8888 | 0.162 | 0.077 | -8888 | 0.001 | 0.003 | 0.007 | 0.03 | -8888 | -8888 | 0.88 | 0.124 | 0.491 | 1.371 | 0.615 | 0.857 | 1.495 | 0.498 | 1.34 | 0.8 | 0.2 | 1.43 | 0.08 | 0.92 | 0.43
06-1606 | Boss, Emmanuel | hplc sta 04 3-2 | P17 | 0 | 1000 | 2 | 3 | 30 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 0.66 | 0.004 | 0.25 | 0.014 | 0.04 | 0.066 | 0.002 | 0.104 | 0.006 | 0.381 | 0.018 | 0.002 | 0.6 | -8888 | 0.06 | 0.004 | -8888 | 0.171 | 0.079 | -8888 | 0.001 | 0.003 | 0.008 | 0.034 | -8888 | -8888 | 0.914 | 0.128 | 0.505 | 1.419 | 0.633 | 0.887 | 1.547 | 0.513 | 1.34 | 0.8 | 0.2 | 1.44 | 0.08 | 0.92 | 0.43
[20 empty] | AVG | 0.649 | 0.004 | 0.245 | 0.014 | 0.04 | 0.065 | 0.002 | 0.102 | 0.007 | 0.375 | 0.019 | 0.002 | 0.599 | -8888 | 0.051 | 0.004 | -8888 | 0.167 | 0.078 | -8888 | 0.001 | 0.003 | 0.008 | 0.032 | -8888 | -8888 | 0.897 | 0.126 | 0.498 | 1.395 | 0.624 | 0.87 | 1.52 | 0.51 | 1.34 | 0.8 | 0.2 | 1.44 | 0.08 | 0.92 | 0.43
[20 empty] | S.D. | 0.016 | 0.001 | 0.008 | 0.001 | 0 | 0.001 | 0 | 0.003 | 0.001 | 0.009 | 0.001 | 0 | 0.002 | 0 | 0.013 | 0.001 | 0 | 0.006 | 0.001 | 0 | 0 | 0 | 0.001 | 0.003 | 0 | 0 | 0.024 | 0.003 | 0.01 | 0.034 | 0.013 | 0.02 | 0.04 | 0.01 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0
[20 empty] | CV% | 2.47% | 25% | 3.27% | 7.14% | 0% | 1.54% | 0% | 2.94% | 14.29% | 2.4% | 5.26% | 0% | 0.33% | 0% | 25.49% | 25% | 0% | 3.59% | 1.28% | 0% | 0% | 0% | 12.5% | 9.38% | 0% | 0% | 2.68% | 2.38% | 2.01% | 2.44% | 2.08% | 2.3% | 2.63% | 1.96% | 0% | 0% | 0% | 0.69% | 0% | 0% | 0% | 2.47% | 5.359%
06-1609 | Boss, Emmanuel | hplc sta 08 3-1 | P17 | 0 | 2000 | 2 | 3 | 65 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 0.254 | 0.002 | 0.119 | 0.005 | 0.041 | 0.095 | 0.003 | 0.013 | -8888 | 0.105 | 0.002 | -8888 | 0.245 | -8888 | 0.009 | 0.002 | -8888 | 0.048 | 0.071 | -8888 | -8888 | 0.001 | 0.003 | 0.015 | 0.001 | -8888 | 0.375 | 0.021 | 0.243 | 0.618 | 0.264 | 0.385 | 0.639 | 0.248 | 1.52 | 0.92 | 0.08 | 1.42 | 0.03 | 0.97 | 0.4
06-1610 | Boss, Emmanuel | hplc sta 08 3-2 | P17 | 0 | 2000 | 2 | 3 | 65 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 0.256 | 0.002 | 0.121 | 0.005 | 0.04 | 0.094 | 0.003 | 0.013 | -8888 | 0.108 | 0.002 | -8888 | 0.248 | -8888 | 0.008 | 0.002 | -8888 | 0.05 | 0.071 | -8888 | -8888 | 0.001 | 0.003 | 0.013 | 0.001 | -8888 | 0.379 | 0.021 | 0.244 | 0.623 | 0.265 | 0.388 | 0.644 | 0.249 | 1.52 | 0.92 | 0.08 | 1.43 | 0.03 | 0.97 | 0.4
[20 empty] | AVG | 0.255 | 0.002 | 0.12 | 0.005 | 0.041 | 0.095 | 0.003 | 0.013 | -8888 | 0.107 | 0.002 | -8888 | 0.247 | -8888 | 0.009 | 0.002 | -8888 | 0.049 | 0.071 | -8888 | -8888 | 0.001 | 0.003 | 0.014 | 0.001 | -8888 | 0.377 | 0.021 | 0.244 | 0.621 | 0.265 | 0.39 | 0.64 | 0.25 | 1.52 | 0.92 | 0.08 | 1.43 | 0.03 | 0.97 | 0.4
[20 empty] | S.D. | 0.001 | 0 | 0.001 | 0 | 0.001 | 0.001 | 0 | 0 | 0 | 0.002 | 0 | 0 | 0.002 | 0 | 0.001 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0.003 | 0 | 0.001 | 0.004 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0
[20 empty] | CV% | 0.39% | 0% | 0.83% | 0% | 2.44% | 1.05% | 0% | 0% | 0% | 1.87% | 0% | 0% | 0.81% | 0% | 11.11% | 0% | 0% | 2.04% | 0% | 0% | 0% | 0% | 0% | 7.14% | 0% | 0% | 0.8% | 0% | 0.41% | 0.64% | 0.38% | 0% | 0% | 0% | 0% | 0% | 0% | 0.7% | 0% | 0% | 0% | 0.39% | 0.5483%
06-1613 | Boss, Emmanuel | hplc sta 18 cast 3-1 | P17 | 0 | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 0.235 | 0.008 | 0.106 | 0.005 | 0.044 | 0.118 | 0.002 | 0.017 | -8888 | 0.052 | 0.004 | 0.001 | 0.226 | -8888 | 0.009 | 0.008 | -8888 | 0.048 | 0.058 | -8888 | 0.001 | 0.002 | 0.002 | 0.011 | 0.001 | -8888 | 0.349 | 0.025 | 0.218 | 0.567 | 0.243 | 0.357 | 0.592 | 0.229 | 1.52 | 0.9 | 0.1 | 1.44 | 0.04 | 0.96 | 0.4
06-1614 | Boss, Emmanuel | hplc sta 18 cast 3-2 | P17 | 0 | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 0.231 | 0.008 | 0.105 | 0.005 | 0.043 | 0.113 | 0.002 | 0.017 | -8888 | 0.051 | 0.004 | 0.001 | 0.222 | -8888 | 0.009 | 0.008 | -8888 | 0.048 | 0.057 | -8888 | 0.001 | 0.002 | 0.002 | 0.011 | 0.001 | -8888 | 0.344 | 0.025 | 0.211 | 0.555 | 0.236 | 0.349 | 0.58 | 0.222 | 1.51 | 0.89 | 0.11 | 1.46 | 0.04 | 0.96 | 0.4
[20 empty] | AVG | 0.233 | 0.008 | 0.106 | 0.005 | 0.044 | 0.116 | 0.002 | 0.017 | -8888 | 0.052 | 0.004 | 0.001 | 0.224 | -8888 | 0.009 | 0.008 | -8888 | 0.048 | 0.058 | -8888 | 0.001 | 0.002 | 0.002 | 0.011 | 0.001 | -8888 | 0.347 | 0.025 | 0.215 | 0.561 | 0.24 | 0.35 | 0.59 | 0.23 | 1.52 | 0.9 | 0.11 | 1.45 | 0.04 | 0.96 | 0.4
[20 empty] | S.D. | 0.003 | 0 | 0.001 | 0 | 0.001 | 0.004 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0 | 0.005 | 0.008 | 0.005 | 0.01 | 0.01 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
[20 empty] | CV% | 1.29% | 0% | 0.94% | 0% | 2.27% | 3.45% | 0% | 0% | 0% | 1.92% | 0% | 0% | 1.34% | 0% | 0% | 0% | 0% | 0% | 1.72% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.15% | 0% | 2.33% | 1.43% | 2.08% | 2.86% | 1.69% | 0% | 0.66% | 1.11% | 9.09% | 0.69% | 0% | 0% | 0% | 1.29% | 0.8225%
06-1617 | Boss, Emmanuel | hplc sta 24 3-1 | P17 | 0 | 3000 | 2 | 3 | 30 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 0.229 | 0.031 | 0.086 | 0.006 | 0.028 | 0.131 | 0.003 | 0.028 | 0.001 | 0.023 | 0.007 | 0.002 | 0.22 | -8888 | 0.009 | 0.031 | -8888 | 0.042 | 0.044 | 0.003 | 0.003 | 0.006 | 0.002 | 0.006 | 0.001 | -8888 | 0.346 | 0.04 | 0.189 | 0.535 | 0.229 | 0.346 | 0.575 | 0.225 | 1.51 | 0.83 | 0.17 | 1.51 | 0.07 | 0.93 | 0.4
06-1618 | Boss, Emmanuel | hplc sta 24 3-2 | P17 | 0 | 3000 | 2 | 3 | 30 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 0.235 | 0.037 | 0.085 | 0.006 | 0.028 | 0.125 | 0.002 | 0.027 | 0.001 | 0.023 | 0.008 | 0.002 | 0.226 | -8888 | 0.009 | 0.037 | -8888 | 0.042 | 0.043 | 0.003 | 0.004 | 0.007 | 0.002 | 0.006 | 0.001 | -8888 | 0.357 | 0.038 | 0.184 | 0.541 | 0.222 | 0.344 | 0.579 | 0.225 | 1.46 | 0.83 | 0.17 | 1.61 | 0.07 | 0.93 | 0.41
[20 empty] | AVG | 0.232 | 0.034 | 0.086 | 0.006 | 0.028 | 0.128 | 0.003 | 0.028 | 0.001 | 0.023 | 0.008 | 0.002 | 0.223 | -8888 | 0.009 | 0.034 | -8888 | 0.042 | 0.044 | 0.003 | 0.004 | 0.007 | 0.002 | 0.006 | 0.001 | -8888 | 0.352 | 0.039 | 0.187 | 0.538 | 0.226 | 0.35 | 0.58 | 0.23 | 1.49 | 0.83 | 0.17 | 1.56 | 0.07 | 0.93 | 0.41
[20 empty] | S.D. | 0.004 | 0.004 | 0.001 | 0 | 0 | 0.004 | 0.001 | 0.001 | 0 | 0 | 0.001 | 0 | 0.004 | 0 | 0 | 0.004 | 0 | 0 | 0.001 | 0 | 0.001 | 0.001 | 0 | 0 | 0 | 0 | 0.008 | 0.001 | 0.004 | 0.004 | 0.005 | 0 | 0 | 0 | 0.04 | 0 | 0 | 0.07 | 0 | 0 | 0.01
[20 empty] | CV% | 1.72% | 11.76% | 1.16% | 0% | 0% | 3.13% | 33.33% | 3.57% | 0% | 0% | 12.5% | 0% | 1.79% | 0% | 0% | 11.76% | 0% | 0% | 2.27% | 0% | 25% | 14.29% | 0% | 0% | 0% | 0% | 2.27% | 2.56% | 2.14% | 0.74% | 2.21% | 0% | 0% | 0% | 2.68% | 0% | 0% | 4.49% | 0% | 0% | 2.44% | 1.72% | 5.598%
Note on E8: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E9: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E13: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E14: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E18: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E19: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E23: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E24: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E28: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are
Note on E29: csthoma1: filters are not marked as replicates, metadata and results seem to indicate that they are

## Effective LOQ
Effective LOQ for filtration volumes used
|  |  |  | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
| Average extraction volume (ml) | Vc (ml) | Vol Filtered (ml) | Chl c3 | Chl c1c2 | Chlide a | Phide a | Perid | But fuco | Fuco | Neo | Pras | Viola | Hex fuco | Diadino | Allo | Diato | Zea | Lut | Gyr diester | MV chl b | DV chl a | MV chla | Phytin a | Car | Vol Filtered (ml) | Chl c1c2 | Perid | But fuco | Fuco | Hex fuco | Diadino | Allo | Diato | Zea | MV chl b | MV chla | Car
| 2.7277 | 0.15 | 1000 | 0.001 | 0.0009 | 0.0025 | 0.0044 | 0.0025 | 0.0018 | 0.0016 | 0.0016 | 0.0017 | 0.0013 | 0.0016 | 0.0011 | 0.001 | 0.0012 | 0.0012 | 0.0012 | 0.0013 | 0.0032 | 0.0035 | 0.0029 | 0.0049 | 0.0011 | 1000 | 0.0009 | 0.0025 | 0.0018 | 0.0016 | 0.0016 | 0.0011 | 0.001 | 0.0012 | 0.0012 | 0.0032 | 0.0029 | 0.0011
| 2.7277 | 0.15 | 2000 | 0.0005 | 0.0004 | 0.0013 | 0.0022 | 0.0013 | 0.0009 | 0.0008 | 0.0008 | 0.0009 | 0.0007 | 0.0008 | 0.0005 | 0.0005 | 0.0006 | 0.0006 | 0.0006 | 0.0006 | 0.0016 | 0.0017 | 0.0014 | 0.0025 | 0.0005 | 2000 | 0.0004 | 0.0013 | 0.0009 | 0.0008 | 0.0008 | 0.0005 | 0.0005 | 0.0006 | 0.0006 | 0.0016 | 0.0014 | 0.0005
| 2.7277 | 0.15 | 3000 | 0.0003 | 0.0003 | 0.0008 | 0.0015 | 0.0008 | 0.0006 | 0.0005 | 0.0005 | 0.0006 | 0.0004 | 0.0005 | 0.0004 | 0.0003 | 0.0004 | 0.0004 | 0.0004 | 0.0004 | 0.0011 | 0.0012 | 0.001 | 0.0016 | 0.0004 | 3000 | 0.0003 | 0.0008 | 0.0006 | 0.0005 | 0.0005 | 0.0004 | 0.0003 | 0.0004 | 0.0004 | 0.0011 | 0.001 | 0.0004

## SS from clients
Please fill in the information in columns denoted with an asterisk. The other columns will be filled out by GSFC.
Row 16 gives additional instructions on how to make data entries. Rows 18-24 gives examples. | [8 empty] | Project:
Grant #:
revised: |  | 2017-04-21 | CST | [5 empty] | Contact person for ID questions:
Instructions:
1. Fill in the necessary information in cells highlighted in blue- columns C-X as well as project and grant #.
1. Use one column per sample (replicate filters should have multiple rows).
2. For column F, please fill in all cells. If a sample has no replicate, indicate S. If samples are duplicates, indicate D. If samples are triplicates, indicate T.
2. If you have any other information that is useful to further identify your samples (ex. size fraction, etc.), please note that in columns AFTER 'filter diameter'.
2. Save file with filename using your last first, followed by the sample submission date and cruise (example: Smith_05072015_MB05).
3. Email the completed spreadsheet to crystal.s.thomas@nasa.gov
4. This completed form (and receipt of your dry shipper by GSFC) will put your samples in the queue.
[16 empty] | NO local time! | s: - for W | s: - for S
|  | Last name, first name | As it is written on the outside of your sample container | No slang | If a sample is: Individual=S Duplicate=D Triplicate=T | [6 empty] | yyyy | mm | dd | ddd | hhmm(ss) | sddd.dddd | sddd.dddd |  |  | -80C, Liquid Nitrogen, Other (specify)
GSFC sample code | Sequential Sample Number | PI | Sample Label | Cruise ID | Indicate if filters are replicates | Volume filtered (ml) | Station | NISKIN Bottle Number | Sampling Depth (meters) | Total Water Depth (meters) | Name of Water Body | Year | Month | Day of Gregorian Month | Sequential Day of Year | GMT Time | Longitude | Latitude | Filter type | Filter Diameter (mm) | Filter storage before shipping to GSFC | sample bottle no
06-1600 |  | Boss, Emmanuel | hplc sta 02 0m | P17 |  | 1000 | 1 | bucket | 0 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 1
06-1601 |  | Boss, Emmanuel | hplc sta 02 3-1 | P17 |  | 1000 | 2 | 3 | 20 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1602 |  | Boss, Emmanuel | hplc sta 02 3-2 | P17 |  | 1000 | 2 | 3 | 20 | 4470 | Southern Ocean | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1603 |  | Boss, Emmanuel | hplc sta 02 dry blank | P17 |  | 1 | dry blank |  |  |  |  | 2017 | 2 | 16 | 47 | 1524 | 126 3.77 | 66 21.56 | GF/F | 25 mm | LN/-80 | dry blank
06-1604 |  | Boss, Emmanuel | hplc sta 04 0m | P17 |  | 1000 | 1 | bucket | 0 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 1
06-1605 |  | Boss, Emmanuel | hplc sta 04 3-1 | P17 |  | 1000 | 2 | 3 | 30 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1606 |  | Boss, Emmanuel | hplc sta 04 3-2 | P17 |  | 1000 | 2 | 3 | 30 | 4866 | Southern Ocean | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1607 |  | Boss, Emmanuel | hplc sta 04 dry blank | P17 |  | 1 | dry blank |  |  |  |  | 2017 | 2 | 17 | 48 | 528 | 125 57.60 | 65 1.00 | GF/F | 25 mm | LN/-80 | dry blank
06-1608 |  | Boss, Emmanuel | hplc sta 08 0m | P17 |  | 2000 | 1 | bucket | 0 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 1
06-1609 |  | Boss, Emmanuel | hplc sta 08 3-1 | P17 |  | 2000 | 2 | 3 | 65 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1610 |  | Boss, Emmanuel | hplc sta 08 3-2 | P17 |  | 2000 | 2 | 3 | 65 | 5047 | Southern Ocean | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1611 |  | Boss, Emmanuel | hplc sta 08 dry blank | P17 |  | 1 | dry blank |  |  |  |  | 2017 | 2 | 18 | 49 | 2229 | 126 6.64 | 62 20.12 | GF/F | 25 mm | LN/-80 | dry blank
06-1612 |  | Boss, Emmanuel | hplc sta 18 0m | P17 |  | 2000 | 1 | bucket | 0 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 1
06-1613 |  | Boss, Emmanuel | hplc sta 18 cast 3-1 | P17 |  | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1613.5 |  | Boss, Emmanuel | hplc sta 18 cast 3-1 | P17 |  | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1614 |  | Boss, Emmanuel | hplc sta 18 cast 3-2 | P17 |  | 2000 | 2 | 3 | 80 | 4168 | Southern Ocean | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1615 |  | Boss, Emmanuel | hplc sta 18 dry blank | P17 |  | 1 | dry blank |  |  |  |  | 2017 | 2 | 21 | 52 | 534 | 125 59.23 | 57 1.00 | GF/F | 25 mm | LN/-80 | dry blank
06-1616 |  | Boss, Emmanuel | hplc sta 24 0m | P17 |  | 3000 | 1 | bucket | 0 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 1
06-1617 |  | Boss, Emmanuel | hplc sta 24 3-1 | P17 |  | 3000 | 2 | 3 | 30 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1618 |  | Boss, Emmanuel | hplc sta 24 3-2 | P17 |  | 3000 | 2 | 3 | 30 | 3586 | Southern Ocean | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | 2 | chl-a max
06-1619 |  | Boss, Emmanuel | hplc sta 24 dry blank | P17 |  | 1 | dry blank |  |  |  |  | 2017 | 2 | 22 | 53 | 1119 | 125 58.59 | 54 0.38 | GF/F | 25 mm | LN/-80 | dry blank
Note on G21: csthoma1: inserted "1" for calculation purposes only (otherwise dividing by zero)
Note on G25: csthoma1: inserted "1" for calculation purposes only (otherwise dividing by zero)
Note on G29: csthoma1: inserted "1" for calculation purposes only (otherwise dividing by zero)
Note on G34: csthoma1: inserted "1" for calculation purposes only (otherwise dividing by zero)
Note on G38: csthoma1: inserted "1" for calculation purposes only (otherwise dividing by zero)

## information
Abbreviations
| SeaBASS and | SeaHARRE and/or
| current report abbreviation | previous report abbreviation | full name | notes |  | SeaBASS abbreviation | description | notes
Primary Pigments | Allo | Allo | alloxanthin |  |  | DP | total diagnostic pigments | PSC + allo + zea + Tot_Chl_b
| alpha-beta-Car | Caro | carotenes | alpha (beta, epsilon) + beta (beta, beta) carotene. Unresolved and therefore undifferentiated |  | PPC | photoprotective carotenoids | allo + diadino + diato + zea + alpha-beta-car
| But-fuco | But fuco | 19'-butanoyloxyfucoxanthin |  |  | PPC_TCar | ratio of photprotective carotenoids to total carotenoids | [PPC]/[Tcar]
| Diadino | Diad | diadinoxanthin |  |  | PPC_TPg | ratio of photoprotective carotenoids to total pigments | [PPC]/[Tpg]
| Diato | Diato | diatoxanthin |  |  | PSC | photosynthetic carotenoids | but-fuco + fuco + hex-fuco + perid
| Fuco | Fuco | fucoxanthin |  |  | PSC_TCar | ratio of photsynthetic carotenoids to total carotenoids | [PSC]/[TCar]
| Hex-fuco | Hex fuco | 19'-hexanoyloxyfucoxanthin |  |  | PSP | phosynthetic pigments | PSC + TChl
| Perid | Perid | Peridinin |  |  | PSP_TPg | ratio of photsynthetic pigments to to total pigments | [PSP]/[TPg]
| Tot_Chl_a | TChl a | total chlorophyll a | DV_Chl_a + MV_Chl_a + Chlide_a + Chl_a allomers + Chl_a epimers |  | TAcc | total accessory pigments | PPC + PSC + Tot_Chl_b + Tot_Chl_c
| Tot_Chl_b | TChl b | total chlorophyll b | DV_Chl_b + MV_Chl_b + Chl_b epimers |  | TAcc_TChla | ratio of total accessory pigments to total chlorophll a | [Tacc]/[Tchla]
| Tot_Chl_c | TChl c | total chlorophyll c | Chl_c3 + Chl_c1c2 |  | TCar | total carotenoids | PPC + PSC
| Zea | Zea | Zeaxanthin |  |  | TChl | total chlorophylls | Tot_Chl_a +Tot_Chl_b +Tot_Chl_c
[6 empty] | TChl_TCar | ratio of total chlorophyll to total carotenoids | [TChl]/[TCaro]
[6 empty] | TChla_Tpg | raito of total chlorophyll a to total pigments | [TChla]/[TPg]
Secondary Pigments | Chl_c3 | Chl c3 | Chlorophyll c3 |  |  | TPg | total pigments | TAcc + Tot_Chl_a
| Chlide_a | Chlide a | chlorophyllide a
| DV_Chl_a | DVChl a | divinyl chlorophyll a
| DV_Chl_b | DVChl b | divinyl chlorophyll b
| MV_Chl_a | Chl a | monovinyl chlorophyll a
| MV_Chl_b | Chl b | monovinyl chlorophyll b
| Chl_c1c2 | Chl c12 | Chlorophyll c2 + chlorophyll c1 + MGDVP
|  | MGDVP | Mg-2,4-divnyl pheoporphyrin a5 monomethyl ester
Tertiary Pigments | Lut | Lut | Lutein
| Neo | Neo | Neoxanthin
| Phide_a | Phide a | total pheophorbide a | multiple peaks
| Phytin_a | Phytin a | total pheophytin a | pheophytin a + pheophytin a'
| Pras | Pras | Prasinoxanthin
| Viola | Viola | Violaxanthin
Ancillary Pigment | Gyro | Gyr diester | Gyroxanthin diester
Replicate filters
The replicate filter precision page summarizes our results for any replicate filters you submitted. On both the replicate filter and analysis precision page, pairs with precision worse than 10% (15% for degradation products)
are flagged in yellow. If a simple reason can be determined (ex. Concentration is below the effective LOQ), it is noted in a comment.
Replicate injections
The analysis precision page summarizes our results for the same sample extract injected twice. Typically, we reinject the first sample analyzed on a given at the end of the day (the ".5" injection). For example, sample 03-0001
and 03-0001.5 are replicate injections of the same extract, injected approximately 24 hours apart (all samples extracted on a particular day require about 24 hours to complete the HPLC analyses). We do this to measure our
analysis precision and any effects caused by a sample's residence time in the refrigerated autosampler compartment. Please note that individual results with very large CV% are usually caused by pigments present in very
low concentrations. On both the replicate filter and analysis precision page, pairs with precision worse than 10% (15% for degradation products) are flagged in yellow. If a simple reason can be determined (ex. Concentration is
below the effective LOQ), it is noted in a comment.
Effective Limit of Quantitation
On the effective LOQ page, we calculate an effective limit of quantitation based on our calculated LOQs (calculated in ng/injection), our typical extraction volume for this sample set, and the various filtration volumes
used with your samples. We make these calculations because our LOQ information is most useful to the data user if it is available in units of concentration (ug/L seawater). The same LOQ can end up looking very different for
different filtration volumes. For example, the LOQ of 0.25 ng will result in very different effective LOQs when carried through our calculation equation to represent the ug/L seawater. For an extraction volume of 2.5 ml and a
filtration volume of 2800 ml, the calculated effective LOQ would be 0.002 ug/L. However, if the filtration volume were only 100 ml, the effective LOQ would calculate to be 0.042 ug/L. Without these calculations, the end user
has no way of knowing that both of these concentrations were acquired at detection-limited concentrations.
Zeros
Instead of including zeros, pigments that were "not found" (not detected) are noted with a replacement value of -8888 (NEW VALUE AS OF MARCH 2016). Pigments that were "not found" are considered to below detection limits.
For pigments that have a replacement value in the respective cell, the pigment was investigated and determined to be "not found" (this is different than a "missing" value, which would imply that the measurement was not performed).
Client sample information spreadsheet
The sample information sheet sent by the research group is included with results, on the "SS from clients" page. Any necessary clarifying comments are made using the comment function. Information that needs to be checked is
highlighted in yellow. Information that was added or changed by GSFC is recorded with red text. The information for any samples that were listed in the original spreadsheet but were not received is moved to the bottom of the spreadsheet.
Analysis method description
The HPLC analysis method can be cited as Van Heukelem and Thomas (2001), further described in Hooker et al. (2005). For a more detailed description, please see below; contact Crystal for a tailored description.
The HPLC used for pigment analysis is an Agilent RR1200 with a programmable autoinjector (900 ul syringe head), refrigerated autosampler compartment, thermostatted column compartment, quaternary pump with in-line vacuum
degasser, and photo-diode array detector with deuterium and tungsten lamps. The HPLC is controlled by Agilent Chemstation software.
The 4.6 x 150 mm HPLC Eclipse XDB column (Agilent Technologies, Palo Alto, CA) is filled with a C8 stationary phase (3.5 um stationary phase); the mobile phase consists of a linear gradient from 5-95% solvent B over
27 minutes, for which solvent A is 70 parts methanol, 30 parts 28 mM tetrabutylammononium acetate (pH 6.5) and solvent B is methanol. The column temperature is 60 C and the photo diode array detector is set to
plot chromatograms at 450, 665, and 222 nm to acquire visible absorbance spectra between 350 and 750 nm.
Vitamin E acetate is used as the internal standard (ISTD) for determining extraction volumes. Its absorbance is monitored at 222 nm; it has negligible absorbance at 450 nm and none at 665 nm. Therefore, it does not interfere
at wavelengths used to quantify pigments and can be used in very high concentrations with S:N ratios much higher than are possible with pigments. The high signal:noise ratio contributes to excellent analysis precision, for which
injection repeatability averages 0.6%. It is stable under conditions of extraction and analysis.
Calibration is performed with individual pigment standards, whose concentrations have been determined spectrophotometrically using absorption coefficients in common with those used by most other laboratories (Hooker et al. 2005)
and the commercial vendor, DHI Water and Environment (Horsholm, Denmark). Standards are either purchased from DHI (in solution with concentrations provided) or purchased in solid form and suspended in solvent at GSFC.
Thirty-six peaks are individually quantified by HPLC, from which 26 pigments are reported (some pigments contain individual components that are summed and reported as one pigment).
SeaBASS submission
|  |  | Please refer to the "Contribute Data" menu on the SeaBASS website, | https://seabass.gsfc.nasa.gov | for information on how to prepare your data files for submission. If your data file contains measurements that were below
detection limits ("not found", see Zeros section), those values were set to -8888, and the following information should be included in your metadata headers:
/below_detection_limit=-8888
! Comments
!
! Measurements below detection limits are assigned the value -8888
!HPLC analysis was run at NASA GSFC by Crystal Thomas