- Cruise narrative

- Highlights

Cruise designation: RF14-05, RF14-06 and RF14-07 (WHP-P10 revisit)

- EXPOCODE: 49UP20140609

- Chief scientist: RF14-05 Kazuhiro NEMOTO (k-nemoto@met.kishou.go.jp)

RF14-06 Kazuhiro NEMOTO (k-nemoto@met.kishou.go.jp)

RF14-07 Takahiro SEGAWA (tsegawa@met.kishou.go.jp)

Marine Division

Global Environment and Marine Department

Japan Meteorological Agency (JMA)

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341   Ext. 5128, 4764

- Ship name: R/V Ryofu Maru

- Ports of call: RF14-05     : Tokyo–Tokyo

RF14-06     : Tokyo–Tokyo

RF14-07 Leg 1: Tokyo–Pohnpei

Leg 2: Pohnpei–Tokyo

- Cruise dates: RF14-05     : 9 June 2014–29 June 2014

RF14-06     : 3 July 2014–21 July 2014

RF14-07 Leg 1: 28 July 2014–19 August 2014

Leg 2: 23 August 2014–16 September 2014

- Floats and drifters deployed: RF14-05: 3 floats and 1 drifter

RF14-07: 2 floats and 1 drifter

- Cruise Summary Information

RF14-05, RF14-06 and RF14-07 cruises were carried out during the period from June 9 to September 16, 2014. The observation line along approximately 149°E meridian was observed by Japan Agency for Marine-Earth Science and Technology (JAMSTEC), Japan in 2005, 2011 and 2012. These cruises were carried out as ‘WHP-P10’, which is a part of WOCE (World Ocean Circulation Experiment) Hydrographic Programme, CLIVAR (Climate Variability and Predictability Project) and GO-SHIP (Global Ocean Ship-based Hydrographic Investigations Program).

The stations from Stn.1 (34°00’N, 149°18’E; RF5113) to Stn.18 (42°15’N, 143°44’E; RF5130) for RF14-05 cruise, from Stn.20 (34°02’N, 149°20’E; RF5145) to Stn.44 (20°30’N, 149°20’E; RF5169) for RF14-06 cruise and from Stn.45 (20°30’N, 149°20’E; RF5171) to Stn.111 (2°20’S, 141°09’E; RF5236) for RF14-07 cruise had been designed.

A total of 111 stations was occupied using a Sea-Bird Electronics (SBE) 36 position carousel equipped with 10-liter Niskin water sample bottles, a CTD system (SBE911plus) equipped with SBE35 deep ocean standards thermometer, JFE Advantech oxygen sensor (RINKO III), Teledyne Benthos altimeter (PSA-916D), and Teledyne RD Instruments L-ADCP (300kHz). Cruise track and station location are shown in Figure 1.

At each station, full-depth CTDO2 (temperature, conductivity (salinity) and dissolved oxygen) profile and up to 36 water samples were taken and analyzed. Water samples were obtained from 10 dbar to approximately 10 m above the bottom. In addition, surface water was sampled using a stainless steel bucket at each station. Sampling layer is designed as so-called staggered mesh as shown in Table 1 (Swift, 2010). The bottle depth diagram is shown in Figure 2.

Water samples were analyzed for salinity, dissolved oxygen, nutrients, dissolved inorganic carbon (DIC), total alkalinity (TA), pH, CFC-11, CFC-12 and phytopigment (chlorophyll-a and phaeopigments). Underway measurements of partial pressure of carbon dioxide (pCO2), temperature, salinity, chlorophyll-a, subsurface current, bathymetry and meteorological parameters were conducted along the cruise track.

RF14-05

RF14-05 cruise was carried out during the period from June 9 to June 29, 2014. Before the observation at the first station, all watch standers were drilled in the method of sample drawing and CTD operations near Izu-Oshima (34°42’N, 139°50’E). The cruise started from Stn.19 (34°00’N, 149°18’E; RF5113) on June 12 and sailed northward to Stn.1 (42°15’N, 143°44’E; RF5130) on June 18. We skipped the Stn.7 (40°02’N, 145°26’E; RF5135) that was cross 40°N. After observation of Stn.1, we observed twelve stations at the 40°N section. Stn.7 was done while observing along 40°N on June 19. RF14-05 cruise consisted of 19 stations at the WHP-P10 section.

Three Argo floats and one drifting ocean data buoy were deployed along the cruise track. The information of deployed the float and the buoy are listed in Table 2a.

RF14-06

RF14-06 cruise was carried out during the period from July 3 to July 16, 2014. Before the observation at the first station, all watch standers were drilled in the method of sample drawing and CTD operations at the point (34°27’N, 142°59’E). The hydrographic cast of CTDO2 was started at the first station (Stn.20 (34°02’N, 149°20’E; RF5145)) that was the same location of Stn.19 on July 5, and sailed southward to Stn.44 (20°30’N, 149°20’E; RF5169) at July 13. After observed Stn.44 she sailed toward Tokyo. RF14-06 cruise consisted of 25 stations.

RF14-07

RF14-07 cruise was carried out during the period from July 28 to September 16, 2014. Before the observation at the first station, all watch standers were drilled in the method of sample drawing and CTD operations at the point (34°44’N, 139°50’E). The hydrographic cast of CTDO2 was started at the first station (Stn.45 (20°30’N, 149°20’E; RF5171)) that was the same station of Stn.44 on August 1. Leg 1 consisted of 43 stations from Stn.45 to Stn.87 (0°01’S, 146°09’E; RF5213). Stn.87 was finished on July 23. She called for Pohnpei (Federated States of Micronesia) on August 19 (Leg 1). She left Pohnpei on August 23, 2014. The hydrographic cast of CTDO2 was restarted at the station (Stn.88 (0°01’N, 146°08’E; RF5214)) that was the same station of Stn.87 on August 26. We sailed westward to Stn.101 (0°30’S, 142°00’E; RF5226) at August 30 and turned southward to Stn.111 (2°20’S, 141°09’E; RF5236) Stn.111 was finished on September 1. After observation of Stn.111 she sailed northward, we observed Stn.100 (0°00’, 142°00’E; RF5237) on September 2, and observed other two stations (1°N and 2°N, 142°E). She arrived at Tokyo (Japan) on September 16, 2014 (Leg 2). Leg 2 consisted of 24 stations from Stn.88 to Stn.111 at the WHP-P10 section.

Two Argo floats and one drifting ocean data buoy were deployed along the cruise track. The information of deployed the float and the buoy are listed in Table 2b.

Location data of stations is shown in Table 3.

Figure 1. Cruise track of RF14-05, RF14-06 and RF14-07. Red closed circles indicate the observation stations at the WHP-P10 section. Open circles indicate the CTD stations of other section.

Figure 2. The bottle depth diagram for WHP-P10 revisit.

Table 1a. The scheme of sampling layer in meters (RF14-05).

| Bottle count | scheme1 | scheme2 | scheme3 |  | Bottle count | scheme1 | scheme2 | scheme3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 10 | 10 | 10 |  | 37 | 5000 | 5080 | 4920 |
| 2 | 25 | 25 | 25 |  | 38 | 5250 | 5330 | 5170 |
| 3 | 50 | 50 | 50 |  | 39 | 5500 | 5580 | 5420 |
| 4 | 75 | 75 | 75 |  | 40 | 5750 | 5830 | 5670 |
| 5 | 100 | 100 | 100 |  | 41 | 6000 | 6000 | 6000 |
| 6 | 125 | 125 | 125 |  |  |  |  |  |
| 7 | 150 | 150 | 150 |  |  |  |  |  |
| 8 | 200 | 200 | 200 |  |  |  |  |  |
| 9 | 250 | 250 | 250 |  |  |  |  |  |
| 10 | 300 | 330 | 280 |  |  |  |  |  |
| 11 | 350 | 350 | 350 |  |  |  |  |  |
| 12 | 400 | 430 | 380 |  |  |  |  |  |
| 13 | 450 | 450 | 450 |  |  |  |  |  |
| 14 | 500 | 530 | 470 |  |  |  |  |  |
| 15 | 600 | 630 | 570 |  |  |  |  |  |
| 16 | 700 | 730 | 670 |  |  |  |  |  |
| 17 | 800 | 830 | 770 |  |  |  |  |  |
| 18 | 900 | 930 | 870 |  |  |  |  |  |
| 19 | 1000 | 1070 | 970 |  |  |  |  |  |
| 20 | 1200 | 1270 | 1130 |  |  |  |  |  |
| 21 | 1400 | 1470 | 1330 |  |  |  |  |  |
| 22 | 1600 | 1670 | 1530 |  |  |  |  |  |
| 23 | 1800 | 1870 | 1730 |  |  |  |  |  |
| 24 | 2000 | 2070 | 1930 |  |  |  |  |  |
| 25 | 2200 | 2270 | 2130 |  |  |  |  |  |
| 26 | 2400 | 2470 | 2330 |  |  |  |  |  |
| 27 | 2600 | 2670 | 2530 |  |  |  |  |  |
| 28 | 2800 | 2870 | 2730 |  |  |  |  |  |
| 29 | 3000 | 3080 | 2930 |  |  |  |  |  |
| 30 | 3250 | 3330 | 3170 |  |  |  |  |  |
| 31 | 3500 | 3580 | 3420 |  |  |  |  |  |
| 32 | 3750 | 3830 | 3670 |  |  |  |  |  |
| 33 | 4000 | 4080 | 3920 |  |  |  |  |  |
| 34 | 4250 | 4330 | 4170 |  |  |  |  |  |
| 35 | 4500 | 4580 | 4420 |  |  |  |  |  |
| 36 | 4750 | 4830 | 4670 |  |  |  |  |  |

Table 1b. The scheme of sampling layer in meters (RF14-06 and RF14-07).

|  | North of 20°N (Stn.20–Stn.45) | South of 20°N (Stn.46–Stn.111) |
| --- | --- | --- |
| Bottle count | scheme1 | scheme2 | scheme3 | scheme4 | scheme5 | scheme6 |
| 1 | 10 | 10 | 10 | 10 | 10 | 10 |
| 2 | 25 | 25 | 25 | 25 | 25 | 25 |
| 3 | 50 | 50 | 50 | 50 | 50 | 50 |
| 4 | 75 | 75 | 75 | 75 | 75 | 75 |
| 5 | 100 | 100 | 100 | 100 | 100 | 100 |
| 6 | 125 | 125 | 125 | 125 | 125 | 125 |
| 7 | 150 | 150 | 150 | 150 | 150 | 150 |
| 8 | 200 | 200 | 200 | 200 | 200 | 200 |
| 9 | 250 | 250 | 250 | 250 | 250 | 250 |
| 10 | 300 | 330 | 280 | 300 | 330 | 280 |
| 11 | 400 | 430 | 370 | 350 | 380 | 320 |
| 12 | 500 | 530 | 470 | 400 | 430 | 370 |
| 13 | 600 | 630 | 570 | 450 | 480 | 420 |
| 14 | 700 | 730 | 670 | 500 | 530 | 470 |
| 15 | 800 | 830 | 770 | 600 | 630 | 570 |
| 16 | 900 | 930 | 870 | 700 | 730 | 670 |
| 17 | 1000 | 1070 | 970 | 800 | 830 | 770 |
| 18 | 1200 | 1270 | 1130 | 900 | 930 | 870 |
| 19 | 1400 | 1470 | 1330 | 1000 | 1070 | 970 |
| 20 | 1600 | 1670 | 1530 | 1200 | 1270 | 1130 |
| 21 | 1800 | 1870 | 1730 | 1400 | 1470 | 1330 |
| 22 | 2000 | 2070 | 1930 | 1600 | 1670 | 1530 |
| 23 | 2200 | 2270 | 2130 | 1800 | 1870 | 1730 |
| 24 | 2400 | 2470 | 2330 | 2000 | 2070 | 1930 |
| 25 | 2600 | 2670 | 2530 | 2200 | 2270 | 2130 |
| 26 | 2800 | 2870 | 2730 | 2400 | 2470 | 2330 |
| 27 | 3000 | 3080 | 2930 | 2600 | 2670 | 2530 |
| 28 | 3250 | 3330 | 3170 | 2800 | 2870 | 2730 |
| 29 | 3500 | 3580 | 3420 | 3000 | 3080 | 2930 |
| 30 | 3750 | 3830 | 3670 | 3250 | 3330 | 3170 |
| 31 | 4000 | 4080 | 3920 | 3500 | 3580 | 3420 |
| 32 | 4250 | 4330 | 4170 | 3750 | 3830 | 3670 |
| 33 | 4500 | 4580 | 4420 | 4000 | 4080 | 3920 |
| 34 | 4750 | 4830 | 4670 | 4250 | 4330 | 4170 |
| 35 | 5000 | 5080 | 4920 | 4500 | 4580 | 4420 |

Table 1. Continue.

|  | North of 20°N (Stn.20–Stn.45) | South of 20°N (Stn.46–Stn.111) |
| --- | --- | --- |
| Bottle count | scheme1 | scheme2 | scheme3 | scheme4 | scheme5 | scheme6 |
| 36 | 5250 | 5330 | 5170 | 4750 | 4830 | 4670 |
| 37 | 5500 | 5580 | 5420 | 5000 | 5080 | 4920 |
| 38 | 5750 | 5830 | 5670 | 5250 | 5330 | 5170 |
| 39 | 6000 | 6000 | 6000 | 5500 | 5580 | 5420 |
| 40 |  |  |  | 5750 | 5830 | 5670 |
| 41 |  |  |  | 6000 | 6000 | 6000 |

Table 2a. Information of deployed float and buoy at RF14-05.

| Float | Date and Time (UTC) | Position of deployment | PI |  |
| --- | --- | --- | --- | --- |
| WMO number | of Deployment | Latitude | Longitude |  |  |
| 2902517 | 2014 June 16 02:47 | 40-01.63 N | 144-59.61 E | JMA | APEX |
| 2902516 | 2014 June 19 04:23 | 40-01.04 N | 145-25.52 E | JMA | APEX |
| 2902522 | 2014 June 22 00:19 | 40-02.74 N | 154-19.92 E | JAMSTEC | Navis |
| Buoy | Date and Time (UTC) | Position of deployment |  |  |
| WMO number | of Deployment | Latitude | Longitude |  |  |
| 21638 | 2014 June 15 23:40 | 39-29.37 N | 145-47.08 E | JMA | YTSS-2100 |

APEX: Teledyne Webb Research (USA)

Navis: Sea-Bird Scientific (USA)

YTSS-2100: JVC KENWOOD Co., Japan

Table 2b. Information of deployed float and buoy at RF14-07.

| Float | Date and Time (UTC) | Position of deployment | PI |  |
| --- | --- | --- | --- | --- |
| WMO number | of Deployment | Latitude | Longitude |  |  |
| 2902523 | 2014 July 30 08:00 | 27-31.02 N | 147-09.21 E | JAMSTEC | Navis |
| 2902524 | 2014 July 31 00:30 | 24-00.96 N | 148-14.62 E | JAMSTEC | Navis |
| Buoy | Date and Time (UTC) | Position of deployment |  |  |
| WMO number | of Deployment | Latitude | Longitude |  |  |
| 21597 | 2014 Sep. 10 03:17 | 29-50.35 N | 140-08.58 E | JMA | YTSS-2100 |

Navis: Sea-Bird Scientific (USA)

YTSS-2100: JVC KENWOOD Co., Japan

Table 3a. Station data of RF14-05 cruises. The ‘RF’ column indicates the JMA station identification number.

| Leg | Station | Position |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stn. | RF | Latitude | Longitude |  |  |  |  |  |  |
| 1 | 1 | 5130 | 42-15.03 N | 143-44.19 E |  |  |  |  |  |  |
| 1 | 2 | 5129 | 42-00.03 N | 143-58.51 E |  |  |  |  |  |  |
| 1 | 3 | 5128 | 41-45.02 N | 144-07.93 E |  |  |  |  |  |  |
| 1 | 4 | 5127 | 41-29.69 N | 144-18.26 E |  |  |  |  |  |  |
| 1 | 5 | 5126 | 40-59.64 N | 144-41.77 E |  |  |  |  |  |  |
| 1 | 6 | 5125 | 40-32.29 N | 145-03.42 E |  |  |  |  |  |  |
| 1 | 7 | 5135 | 40-01.67 N | 145-25.68 E |  |  |  |  |  |  |
| 1 | 8 | 5124 | 39-31.98 N | 145-46.44 E |  |  |  |  |  |  |
| 1 | 9 | 5123 | 39-00.87 N | 146-06.67 E |  |  |  |  |  |  |
| 1 | 10 | 5122 | 38-32.20 N | 146-28.81 E |  |  |  |  |  |  |
| 1 | 11 | 5121 | 37-59.37 N | 146-49.48 E |  |  |  |  |  |  |
| 1 | 12 | 5120 | 37-30.99 N | 147-08.86 E |  |  |  |  |  |  |
| 1 | 13 | 5119 | 36-59.01 N | 147-29.97 E |  |  |  |  |  |  |
| 1 | 14 | 5118 | 36-29.52 N | 147-48.70 E |  |  |  |  |  |  |
| 1 | 15 | 5117 | 36-01.89 N | 148-09.81 E |  |  |  |  |  |  |
| 1 | 16 | 5116 | 35-31.74 N | 148-25.42 E |  |  |  |  |  |  |
| 1 | 17 | 5115 | 35-00.94 N | 148-42.14 E |  |  |  |  |  |  |
| 1 | 18 | 5114 | 34-31.15 N | 149-01.67 E |  |  |  |  |  |  |
| 1 | 19 | 5113 | 34-00.14 N | 149-17.68 E |  |  |  |  |  |  |

Table 3b. Station data of RF14-06 cruises. The ‘RF’ column indicates the JMA station identification number.

| EXPOCODE | Leg | Station | Position |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| sub number |  | Stn. | RF | Latitude | Longitude |  |  |  |  |  |  |
| 2 | １ | 20 | 5145 | 34-01.66 N | 149-19.74 E |  |  |  |  |  |  |
| 2 | 1 | 21 | 5146 | 33-45.70 N | 149-20.62 E |  |  |  |  |  |  |
| 2 | 1 | 22 | 5147 | 33-29.03 N | 149-19.89 E |  |  |  |  |  |  |
| 2 | 1 | 23 | 5148 | 33-09.33 N | 149-19.34 E |  |  |  |  |  |  |
| 2 | 1 | 24 | 5149 | 32-49.02 N | 149-19.83 E |  |  |  |  |  |  |
| 2 | 1 | 25 | 5150 | 32-28.04 N | 149-18.40 E |  |  |  |  |  |  |
| 2 | 1 | 26 | 5151 | 32-08.21 N | 149-17.57 E |  |  |  |  |  |  |
| 2 | 1 | 27 | 5152 | 31-48.44 N | 149-18.67 E |  |  |  |  |  |  |
| 2 | 1 | 28 | 5153 | 31-09.38 N | 149-20.39 E |  |  |  |  |  |  |
| 2 | 1 | 29 | 5154 | 30-30.07 N | 149-22.62 E |  |  |  |  |  |  |
| 2 | 1 | 30 | 5155 | 30-00.27 N | 149-15.18 E |  |  |  |  |  |  |
| 2 | 1 | 31 | 5156 | 29-08.74 N | 149-20.68 E |  |  |  |  |  |  |
| 2 | 1 | 32 | 5157 | 28-29.22 N | 149-20.52 E |  |  |  |  |  |  |
| 2 | 1 | 33 | 5158 | 27-49.37 N | 149-20.47 E |  |  |  |  |  |  |
| 2 | 1 | 34 | 5159 | 27-08.57 N | 149-20.13 E |  |  |  |  |  |  |
| 2 | 1 | 35 | 5160 | 26-29.33 N | 149-21.17 E |  |  |  |  |  |  |
| 2 | 1 | 36 | 5161 | 25-49.11 N | 149-19.49 E |  |  |  |  |  |  |
| 2 | 1 | 37 | 5162 | 25-08.81 N | 149-19.59 E |  |  |  |  |  |  |
| 2 | 1 | 38 | 5163 | 24-14.83 N | 149-00.98 E |  |  |  |  |  |  |
| 2 | 1 | 39 | 5164 | 23-50.37 N | 149-20.25 E |  |  |  |  |  |  |
| 2 | 1 | 40 | 5165 | 23-10.17 N | 149-20.10 E |  |  |  |  |  |  |
| 2 | 1 | 41 | 5166 | 22-29.45 N | 149-18.48 E |  |  |  |  |  |  |
| 2 | 1 | 42 | 5167 | 21-49.24 N | 149-17.72 E |  |  |  |  |  |  |
| 2 | 1 | 43 | 5168 | 21-10.82 N | 149-22.51 E |  |  |  |  |  |  |
| 2 | 1 | 44 | 5169 | 20-30.37 N | 149-19.65 E |  |  |  |  |  |  |

Table 3c. Station data of RF14-07 cruises. The ‘RF’ column indicates the JMA station identification number.

| EXPOCODE | Leg | Station | Position |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| sub number |  | Stn. | RF | Latitude | Longitude |  |  |  |  |  |  |
| 3 | 1 | 45 | 5171 | 20-30.10 N | 149-19.69 E |  |  |  |  |  |  |
| 3 | 1 | 46 | 5172 | 19-49.89 N | 149-18.45 E |  |  |  |  |  |  |
| 3 | 1 | 47 | 5173 | 19-10.43 N | 149-19.32 E |  |  |  |  |  |  |
| 3 | 1 | 48 | 5174 | 18-31.70 N | 149-19.34 E |  |  |  |  |  |  |
| 3 | 1 | 49 | 5175 | 17-51.28 N | 149-19.77 E |  |  |  |  |  |  |
| 3 | 1 | 50 | 5176 | 17-11.64 N | 149-20.19 E |  |  |  |  |  |  |
| 3 | 1 | 51 | 5177 | 16-30.13 N | 149-20.46 E |  |  |  |  |  |  |
| 3 | 1 | 52 | 5178 | 15-49.22 N | 149-19.84 E |  |  |  |  |  |  |
| 3 | 1 | 53 | 5179 | 15-09.66 N | 149-19.25 E |  |  |  |  |  |  |
| 3 | 1 | 54 | 5180 | 14-29.44 N | 149-18.83 E |  |  |  |  |  |  |
| 3 | 1 | 55 | 5181 | 13-49.67 N | 149-18.58 E |  |  |  |  |  |  |
| 3 | 1 | 56 | 5182 | 13-10.15 N | 149-19.59 E |  |  |  |  |  |  |
| 3 | 1 | 57 | 5183 | 12-29.53 N | 149-20.33 E |  |  |  |  |  |  |
| 3 | 1 | 58 | 5184 | 11-49.48 N | 149-20.40 E |  |  |  |  |  |  |
| 3 | 1 | 59 | 5185 | 11-09.20 N | 149-20.46 E |  |  |  |  |  |  |
| 3 | 1 | 60 | 5186 | 10-30.02 N | 149-19.58 E |  |  |  |  |  |  |
| 3 | 1 | 61 | 5187 | 10-00.72 N | 149-19.33 E |  |  |  |  |  |  |
| 3 | 1 | 62 | 5188 | 9-30.62 N | 149-19.92 E |  |  |  |  |  |  |
| 3 | 1 | 63 | 5189 | 8-51.10 N | 149-20.91 E |  |  |  |  |  |  |
| 3 | 1 | 64 | 5190 | 8-31.36 N | 149-21.27 E |  |  |  |  |  |  |
| 3 | 1 | 65 | 5191 | 8-01.84 N | 149-14.63 E |  |  |  |  |  |  |
| 3 | 1 | 66 | 5192 | 7-30.74 N | 148-56.56 E |  |  |  |  |  |  |
| 3 | 1 | 67 | 5193 | 7-00.56 N | 148-42.74 E |  |  |  |  |  |  |
| 3 | 1 | 68 | 5194 | 6-30.91 N | 148-29.30 E |  |  |  |  |  |  |
| 3 | 1 | 69 | 5195 | 6-00.53 N | 148-16.54 E |  |  |  |  |  |  |
| 3 | 1 | 70 | 5196 | 5-31.03 N | 148-04.85 E |  |  |  |  |  |  |
| 3 | 1 | 71 | 5197 | 4-59.79 N | 147-51.09 E |  |  |  |  |  |  |
| 3 | 1 | 72 | 5198 | 4-29.87 N | 147-38.95 E |  |  |  |  |  |  |
| 3 | 1 | 73 | 5199 | 4-00.49 N | 147-26.65 E |  |  |  |  |  |  |
| 3 | 1 | 74 | 5200 | 3-30.67 N | 147-14.39 E |  |  |  |  |  |  |
| 3 | 1 | 75 | 5201 | 3-00.93 N | 147-01.28 E |  |  |  |  |  |  |
| 3 | 1 | 76 | 5202 | 2-45.81 N | 146-56.21 E |  |  |  |  |  |  |
| 3 | 1 | 77 | 5203 | 2-30.55 N | 146-53.13 E |  |  |  |  |  |  |
| 3 | 1 | 78 | 5204 | 2-15.59 N | 146-47.45 E |  |  |  |  |  |  |

Table 3c. continue.

| EXPOCODE | Leg | Station | Position |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| sub number |  | Stn. | RF | Latitude | Longitude |  |  |  |  |  |  |
| 3 | 1 | 79 | 5205 | 2-00.31 N | 146-42.47 E |  |  |  |  |  |  |
| 3 | 1 | 80 | 5206 | 1-45.29 N | 146-38.34 E |  |  |  |  |  |  |
| 3 | 1 | 81 | 5207 | 1-30.57 N | 146-34.26 E |  |  |  |  |  |  |
| 3 | 1 | 82 | 5208 | 1-15.10 N | 146-29.19 E |  |  |  |  |  |  |
| 3 | 1 | 83 | 5209 | 1-00.30 N | 146-25.47 E |  |  |  |  |  |  |
| 3 | 1 | 84 | 5210 | 0-44.88 N | 146-21.41 E |  |  |  |  |  |  |
| 3 | 1 | 85 | 5211 | 0-30.18 N | 146-16.15 E |  |  |  |  |  |  |
| 3 | 1 | 86 | 5212 | 0-14.61 N | 146-12.88 E |  |  |  |  |  |  |
| 3 | 1 | 87 | 5213 | 0-00.72 S | 146-08.78 E |  |  |  |  |  |  |
| 4 | 2 | 88 | 5214 | 0-00.50 N | 146-07.86 E |  |  |  |  |  |  |
| 4 | 2 | 89 | 5215 | 0-14.93 S | 146-02.90 E |  |  |  |  |  |  |
| 4 | 2 | 90 | 5216 | 0-30.02 S | 145-59.21 E |  |  |  |  |  |  |
| 4 | 2 | 91 | 5217 | 0-44.96 S | 145-55.30 E |  |  |  |  |  |  |
| 4 | 2 | 92 | 5218 | 0-59.91 S | 145-50.38 E |  |  |  |  |  |  |
| 4 | 2 | 93 | 5219 | 0-29.85 S | 145-28.77 E |  |  |  |  |  |  |
| 4 | 2 | 94 | 5220 | 0-30.12 S | 144-58.78 E |  |  |  |  |  |  |
| 4 | 2 | 95 | 5221 | 0-30.37 S | 144-28.85 E |  |  |  |  |  |  |
| 4 | 2 | 96 | 5222 | 0-30.67 S | 143-58.64 E |  |  |  |  |  |  |
| 4 | 2 | 97 | 5223 | 0-30.24 S | 143-29.52 E |  |  |  |  |  |  |
| 4 | 2 | 98 | 5224 | 0-29.81 S | 142-59.15 E |  |  |  |  |  |  |
| 4 | 2 | 99 | 5225 | 0-30.76 S | 142-29.23 E |  |  |  |  |  |  |
| 4 | 2 | 100 | 5237 | 0-00.00 N | 141-59.81 E |  |  |  |  |  |  |
| 4 | 2 | 101 | 5226 | 0-30.38 S | 141-59.69 E |  |  |  |  |  |  |
| 4 | 2 | 102 | 5227 | 0-45.35 S | 141-59.35 E |  |  |  |  |  |  |
| 4 | 2 | 103 | 5228 | 1-00.25 S | 141-59.90 E |  |  |  |  |  |  |
| 4 | 2 | 104 | 5229 | 1-15.58 S | 141-59.89 E |  |  |  |  |  |  |
| 4 | 2 | 105 | 5230 | 1-29.96 S | 142-00.33 E |  |  |  |  |  |  |
| 4 | 2 | 106 | 5231 | 1-44.56 S | 142-00.04 E |  |  |  |  |  |  |
| 4 | 2 | 107 | 5232 | 2-00.23 S | 141-59.58 E |  |  |  |  |  |  |
| 4 | 2 | 108 | 5233 | 2-05.05 S | 141-44.59 E |  |  |  |  |  |  |
| 4 | 2 | 109 | 5234 | 2-10.14 S | 141-28.66 E |  |  |  |  |  |  |
| 4 | 2 | 110 | 5235 | 2-14.98 S | 141-14.04 E |  |  |  |  |  |  |
| 4 | 2 | 111 | 5236 | 2-20.34 S | 141-09.17 E |  |  |  |  |  |  |

List of Principal Investigators for all Measurements

The principal investigator (PI) and the person in charge responsible for major parameters measured on the cruise are listed in Table 4a (RF14-05), Table 4b (RF14-06) and Table 4c (RF14-07).

Table 4a. List of principal investigator and the person in charge on the ship for RF14-05.

Item			Principal Investigator（PI）	Person in charge on the ship

Hydrography

CTDO2 / LADCP	Toshiya NAKANO		Keizo SHUTTA

Salinity 		Toshiya NAKANO		Keizo SHUTTA

Dissolve oxygen		Toshiya NAKANO		Takahiro KITAGAWA

Nutrients		Toshiya NAKANO		Takahiro KITAGAWA

Phytopigment		Toshiya NAKANO		Naoshi KUBO

DIC			Toshiya NAKANO		Shu SAITO

Total Alkalinity		Toshiya NAKANO		Shu SAITO

pH			Toshiya NAKANO		Shu SAITO

CFCs			Toshiya NAKANO		Shu SAITO

Underway

Meteorology		Toshiya NAKANO		Kazuhiro NEMOTO

Thermo-Salinograph	Toshiya NAKANO		Shu SAITO

pCO2			Toshiya NAKANO		Shu SAITO

Chlorophyll-a		Toshiya NAKANO		Naoshi KUBO

ADCP			Toshiya NAKANO		Keizo SHUTTA

Bathymetry		Toshiya NAKANO		Keizo SHUTTA

Float and Buoy

Argo float (JMA)	Kazuhiro NEMOTO		Keizo SHUTTA

Argo float (JAMSTEC)	Shigeki HOSODA		Keizo SHUTTA

Buoy (JMA)		Kazuhiro NEMOTO		Keizo SHUTTA

Table 4b. List of principal investigator and the person in charge on the ship for RF14-06.

Item			Principal Investigator（PI）	Person in charge on the ship

Hydrography

CTDO2 / LADCP	Toshiya NAKANO		Keizo SHUTTA

Salinity 		Toshiya NAKANO		Keizo SHUTTA

Dissolve oxygen		Toshiya NAKANO		Sonoki IWANO

Nutrients		Toshiya NAKANO		Takahiro KITAGAWA

Phytopigment		Toshiya NAKANO		Sonoki IWANO

DIC			Toshiya NAKANO		Kazutaka ENYO

Total Alkalinity		Toshiya NAKANO		Kazutaka ENYO

pH			Toshiya NAKANO		Kazutaka ENYO

CFCs			Toshiya NAKANO		Akira WADA

Underway

Meteorology		Toshiya NAKANO		Kazuhiro NEMOTO

Thermo-Salinograph	Toshiya NAKANO		Kazutaka ENYO

pCO2			Toshiya NAKANO		Kazutaka ENYO

Chlorophyll-a		Toshiya NAKANO		Sonoki IWANO

ADCP			Toshiya NAKANO		Keizo SHUTTA

Bathymetry		Toshiya NAKANO		Keizo SHUTTA

Table 4c. List of principal investigator and the person in charge on the ship for RF14-07.

Item			Principal Investigator（PI）	Person in charge on the ship

Hydrography

CTDO2 / LADCP	Toshiya NAKANO		Keizo SHUTTA

Salinity 		Toshiya NAKANO		Keizo SHUTTA

Dissolve oxygen		Toshiya NAKANO		Sonoki IWANO

Nutrients		Toshiya NAKANO		Hiroyuki FUJIWARA

Phytopigment		Toshiya NAKANO		Sonoki IWANO

DIC			Toshiya NAKANO		Shu SAITO

Total Alkalinity		Toshiya NAKANO		Shu SAITO

pH			Toshiya NAKANO		Shu SAITO

CFCs			Toshiya NAKANO		Kazutaka ENYO

Underway

Meteorology		Toshiya NAKANO		Takahiro SEGAWA

Thermo-Salinograph	Toshiya NAKANO		Shu SAITO

pCO2			Toshiya NAKANO		Shu SAITO

Chlorophyll-a		Toshiya NAKANO		Sonoki IWANO

ADCP			Toshiya NAKANO		Keizo SHUTTA

Bathymetry		Toshiya NAKANO		Keizo SHUTTA

Float and Buoy

Argo float (JAMSTEC)	Shigeki HOSODA		Keizo SHUTTA

Buoy (JMA)		Kazuhiro NEMOTO		Keizo SHUTTA

Toshiya NAKANO (nakano_t@met.kishou.go.jp)

Marine Division, Global Environment and Marine Department, JMA

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341 Ext. 5131

Kazuhiro NEMOTO (k-nemoto@met.kishou.go.jp)

Marine Division, Global Environment and Marine Department, JMA

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341 Ext. 5128

Shigeki HOSODA (hosodas@jamstec.go.jp)

Ocean Circulation Research Group,

Research and Development Center for Global Change (RCGC),

Strategic Research and Development area,

Japan Agency for Marine-Earth Science and Technology (JAMSTEC)

2-15 Natsushima, Yokosuka-shi, Kanagawa 237-0061, JAPAN

Reference

Swift, J. H. (2010): Reference-quality water sample data: Notes on acquisition, record keeping, and evaluation. IOCCP Report No.14, ICPO Pub. 134, 2010 ver.1