- Cruise narrative

- Highlights

Cruise designation: RF16-06 (WHP-P09 revisit)

- EXPOCODE: 49UP20160703

- Chief scientist: Naoki NAGAI (n-nagai@met.kishou.go.jp)

Marine Division

Global Environment and Marine Department

Japan Meteorological Agency (JMA)

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341   Ext. 4778

- Ship name: R/V Ryofu Maru

- Ports of call: Leg 1: Tokyo–Palau

Leg 2: Palau–Tokyo

- Cruise dates: Leg 1: 3 July 2016–27 July 2016

Leg 2: 31 July 2016–24 August 2016

- Floats and drifters deployed: 1 float

1 drifter

- Cruise Summary Information

RF16-06 cruise was carried out during the period from July 3 to August 24, 2016. The cruise started from the south of Honshu, Japan, and sailed towards south along approximately 137°E meridian. This line (WHP-P9) was observed by JMA in 1994 as WOCE (World Ocean Circulation Experiment) Hydrographic Programme and in 2010 as CLIVAR (Climate Variability and Predictability Project) / GO-SHIP (Global Ocean Ship-based Hydrographic Investigations Program).

A total of 92 stations was occupied using a Sea-Bird Electronics (SBE) 36 position carousel equipped with 10-liter Niskin water sample bottles, a CTD system (SBE911plus) equipped with SBE35 deep ocean standards thermometer, JFE Advantech oxygen sensor (RINKO III), Teledyne Benthos altimeter (PSA-916D), and Teledyne RD Instruments L-ADCP (300kHz). To examine consistency of data, we carried out the observation twice at 8°N, 137°E (Stn.59 and 60). Cruise track and station location are shown in Figure 1.

At each station, full-depth CTDO2 (temperature, conductivity (salinity) and dissolved oxygen) profile were taken, and at almost all stations except for Stn. 62, up to 36 water samples were taken and analyzed. Water samples were obtained from 10 dbar to approximately 10 m above the bottom. In addition, surface water was sampled by a stainless steel bucket at each station. Sampling layer is designed as so-called staggered mesh as shown in Table 1 (Swift, 2010). The bottle depth diagram is shown in Figure 2.

Water samples were analyzed for salinity, dissolved oxygen, nutrients, dissolved inorganic carbon (DIC), total alkalinity (TA), pH, CFC-11, CFC-12, CFC-113 and phytopigment (chlorophyll-a and phaeopigmens). Underway measurements of partial pressure of carbon dioxide (pCO2), temperature, salinity, chlorophyll-a, subsurface current, bathymetry and meteorological parameters were conducted along the cruise track.

R/V Ryofu Maru departed Tokyo (Japan) on July 3, 2016. The hydrographic cast of CTDO2 was started at the first station (Stn.1 (34°10’N, 137°E; RF5802)) on July 4. Leg 1 consisted of 59 stations from Stn.1 to Stn.59 (8°N, 137°E; RF5860). Stn.59 was finished on July 23. She called for Palau (Republic of Palau) on July 27 (Leg 1). She left Palau on July 31, 2016. The hydrographic cast of CTDO2 was restarted at the station (Stn.60 (8°N, 137°E; RF5861)) on August 1. Leg 2 consisted of 33 stations from Stn.60 (8°N, 137°E; RF5861) to Stn.92 (2°20’S, 141°30’E; RF5893). Stn.92 was finished on August 11. She arrived at Tokyo (Japan) on August 24, 2016 (Leg 2). Location data of stations is shown in Table 2.

One Argo float and one drifting ocean data buoy were deployed along the cruise track. The information of deployed the float and the buoy are listed in Table 3.

Figure 1. Cruise track of RF16-06.

Figure 2. The bottle depth diagram for WHP-P9 revisit.

Table 1. The scheme of sampling layer in meters.

|  | North of 20°N (Stn.1–Stn.33) | South of 20°N (Stn.34–Stn.92) |
| --- | --- | --- |
| Bottle count | scheme1 | scheme2 | scheme3 | scheme4 | scheme5 | scheme6 |
| 1 | 10 | 10 | 10 | 10 | 10 | 10 |
| 2 | 25 | 25 | 25 | 25 | 25 | 25 |
| 3 | 50 | 50 | 50 | 50 | 50 | 50 |
| 4 | 75 | 75 | 75 | 75 | 75 | 75 |
| 5 | 100 | 100 | 100 | 100 | 100 | 100 |
| 6 | 125 | 125 | 125 | 125 | 125 | 125 |
| 7 | 150 | 150 | 150 | 150 | 150 | 150 |
| 8 | 200 | 200 | 200 | 200 | 200 | 200 |
| 9 | 250 | 250 | 250 | 250 | 250 | 250 |
| 10 | 300 | 330 | 280 | 300 | 330 | 280 |
| 11 | 400 | 430 | 370 | 350 | 380 | 320 |
| 12 | 500 | 530 | 470 | 400 | 430 | 370 |
| 13 | 600 | 630 | 570 | 450 | 480 | 420 |
| 14 | 700 | 730 | 670 | 500 | 530 | 470 |
| 15 | 800 | 830 | 770 | 600 | 630 | 570 |
| 16 | 900 | 930 | 870 | 700 | 730 | 670 |
| 17 | 1000 | 1070 | 970 | 800 | 830 | 770 |
| 18 | 1200 | 1270 | 1130 | 900 | 930 | 870 |
| 19 | 1400 | 1470 | 1330 | 1000 | 1070 | 970 |
| 20 | 1600 | 1670 | 1530 | 1200 | 1270 | 1130 |
| 21 | 1800 | 1870 | 1730 | 1400 | 1470 | 1330 |
| 22 | 2000 | 2070 | 1930 | 1600 | 1670 | 1530 |
| 23 | 2200 | 2270 | 2130 | 1800 | 1870 | 1730 |
| 24 | 2400 | 2470 | 2330 | 2000 | 2070 | 1930 |
| 25 | 2600 | 2670 | 2530 | 2200 | 2270 | 2130 |
| 26 | 2800 | 2870 | 2730 | 2400 | 2470 | 2330 |
| 27 | 3000 | 3080 | 2930 | 2600 | 2670 | 2530 |
| 28 | 3250 | 3330 | 3170 | 2800 | 2870 | 2730 |
| 29 | 3500 | 3580 | 3420 | 3000 | 3080 | 2930 |
| 30 | 3750 | 3830 | 3670 | 3250 | 3330 | 3170 |
| 31 | 4000 | 4080 | 3920 | 3500 | 3580 | 3420 |
| 32 | 4250 | 4330 | 4170 | 3750 | 3830 | 3670 |
| 33 | 4500 | 4580 | 4420 | 4000 | 4080 | 3920 |
| 34 | 4750 | 4830 | 4670 | 4250 | 4330 | 4170 |
| 35 | 5000 | 5080 | 4920 | 4500 | 4580 | 4420 |

Table 1. Continue.

|  | North of 20°N (Stn.1–Stn.33) | South of 20°N (Stn.34–Stn.92) |
| --- | --- | --- |
| Bottle count | scheme1 | scheme2 | scheme3 | scheme4 | scheme5 | scheme6 |
| 36 | 5250 | 5330 | 5170 | 4750 | 4830 | 4670 |
| 37 | 5500 | 5580 | 5420 | 5000 | 5080 | 4920 |
| 38 | 5750 | 5830 | 5670 | 5250 | 5330 | 5170 |
| 39 | 6000 | 6000 | 6000 | 5500 | 5580 | 5420 |
| 40 |  |  |  | 5750 | 5830 | 5670 |
| 41 |  |  |  | 6000 | 6000 | 6000 |

Table 2. Station data of RF16-06 cruise. The ‘RF’ column indicates the JMA station identification number.

| Leg | Station | Position |  | Leg | Station | Position |
| --- | --- | --- | --- | --- | --- | --- |
|  | Stn. | RF | Latitude | Longitude |  |  | Stn. | RF | Latitude | Longitude |
| 1 | 1 | 5802 | 34-10.49 N | 137-00.02 E |  | 1 | 33 | 5834 | 20-29.25 N | 136-59.38 E |
| 1 | 2 | 5803 | 34-00.26 N | 137-00.04 E |  | 1 | 34 | 5835 | 19-58.33 N | 136-59.74 E |
| 1 | 3 | 5804 | 33-35.10 N | 137-00.32 E |  | 1 | 35 | 5836 | 19-29.61 N | 136-59.86 E |
| 1 | 4 | 5805 | 33-20.36 N | 137-00.73 E |  | 1 | 36 | 5837 | 18-59.87 N | 136-59.31 E |
| 1 | 5 | 5806 | 33-00.42 N | 137-03.29 E |  | 1 | 37 | 5838 | 18-29.90 N | 136-59.51 E |
| 1 | 6 | 5807 | 32-39.77 N | 137-03.32 E |  | 1 | 38 | 5839 | 17-59.19 N | 136-58.61 E |
| 1 | 7 | 5808 | 32-20.44 N | 137-01.63 E |  | 1 | 39 | 5840 | 17-30.27 N | 136-56.65 E |
| 1 | 8 | 5809 | 31-59.45 N | 137-00.82 E |  | 1 | 40 | 5841 | 16-59.80 N | 136-57.92 E |
| 1 | 9 | 5810 | 31-38.69 N | 136-59.83 E |  | 1 | 41 | 5842 | 16-30.21 N | 136-57.90 E |
| 1 | 10 | 5811 | 31-19.13 N | 137-01.13 E |  | 1 | 42 | 5843 | 16-00.19 N | 136-58.60 E |
| 1 | 11 | 5812 | 30-58.80 N | 136-59.55 E |  | 1 | 43 | 5844 | 15-30.09 N | 136-59.00 E |
| 1 | 12 | 5813 | 30-39.47 N | 136-59.83 E |  | 1 | 44 | 5845 | 14-59.50 N | 136-59.35 E |
| 1 | 13 | 5814 | 30-20.04 N | 136-59.20 E |  | 1 | 45 | 5846 | 14-30.08 N | 136-58.88 E |
| 1 | 14 | 5815 | 30-00.70 N | 136-59.29 E |  | 1 | 46 | 5847 | 13-59.79 N | 136-58.40 E |
| 1 | 15 | 5816 | 29-31.59 N | 137-09.03 E |  | 1 | 47 | 5848 | 13-30.33 N | 136-59.25 E |
| 1 | 16 | 5817 | 29-01.52 N | 136-57.97 E |  | 1 | 48 | 5849 | 12-59.99 N | 136-59.33 E |
| 1 | 17 | 5818 | 28-30.27 N | 136-59.73 E |  | 1 | 49 | 5850 | 12-30.39 N | 136-59.39 E |
| 1 | 18 | 5819 | 28-02.64 N | 136-59.38 E |  | 1 | 50 | 5851 | 11-59.12 N | 136-59.61 E |
| 1 | 19 | 5820 | 27-31.32 N | 136-59.83 E |  | 1 | 51 | 5852 | 11-29.12 N | 136-58.77 E |
| 1 | 20 | 5821 | 27-02.23 N | 136-58.87 E |  | 1 | 52 | 5853 | 10-58.76 N | 136-59.38 E |
| 1 | 21 | 5822 | 26-31.86 N | 136-59.52 E |  | 1 | 53 | 5854 | 10-29.23 N | 136-59.52 E |
| 1 | 22 | 5823 | 26-01.18 N | 137-00.69 E |  | 1 | 54 | 5855 | 10-00.11 N | 136-58.67 E |
| 1 | 23 | 5824 | 25-30.16 N | 137-00.72 E |  | 1 | 55 | 5856 | 9-30.04 N | 136-59.13 E |
| 1 | 24 | 5825 | 25-00.33 N | 136-58.55 E |  | 1 | 56 | 5857 | 8-59.69 N | 136-59.36 E |
| 1 | 25 | 5826 | 24-31.44 N | 136-59.38 E |  | 1 | 57 | 5858 | 8-40.01 N | 136-59.64 E |
| 1 | 26 | 5827 | 24-00.38 N | 137-00.96 E |  | 1 | 58 | 5859 | 8-19.94 N | 136-59.87 E |
| 1 | 27 | 5828 | 23-30.16 N | 137-00.34 E |  | 1 | 59 | 5860 | 7-59.75 N | 137-00.12 E |
| 1 | 28 | 5829 | 22-59.78 N | 137-20.39 E |  | 2 | 60 | 5861 | 7-59.61 N | 136-59.17 E |
| 1 | 29 | 5830 | 22-29.37 N | 137-19.64 E |  | 2 | 61 | 5862 | 7-39.02 N | 136-50.51 E |
| 1 | 30 | 5831 | 21-59.88 N | 137-19.31 E |  | 2 | 62 | 5863 | 7-29.24 N | 136-50.68 E |
| 1 | 31 | 5832 | 21-29.68 N | 136-59.35 E |  | 2 | 63 | 5864 | 7-19.40 N | 136-49.06 E |
| 1 | 32 | 5833 | 21-00.15 N | 136-59.86 E |  | 2 | 64 | 5865 | 6-59.16 N | 136-59.90 E |

Table 2. Continue.

| Leg | Station | Position |  | Leg | Station | Position |
| --- | --- | --- | --- | --- | --- | --- |
|  | Stn. | RF | Latitude | Longitude |  |  | Stn. | RF | Latitude | Longitude |
| 2 | 65 | 5866 | 6-30.87 N | 137-00.96 E |  | 2 | 79 | 5880 | 2-17.67 N | 140-29.90 E |
| 2 | 66 | 5867 | 5-59.23 N | 137-01.41 E |  | 2 | 80 | 5881 | 2-11.07 N | 141-00.26 E |
| 2 | 67 | 5868 | 5-30.57 N | 137-00.53 E |  | 2 | 81 | 5882 | 2-05.23 N | 141-30.55 E |
| 2 | 68 | 5869 | 5-00.59 N | 137-01.33 E |  | 2 | 82 | 5883 | 1-59.08 N | 142-00.39 E |
| 2 | 69 | 5870 | 4-31.23 N | 137-00.61 E |  | 2 | 83 | 5884 | 1-28.93 N | 142-01.54 E |
| 2 | 70 | 5871 | 4-00.90 N | 137-00.43 E |  | 2 | 84 | 5885 | 0-59.28 N | 142-00.82 E |
| 2 | 71 | 5872 | 3-31.28 N | 136-59.95 E |  | 2 | 85 | 5886 | 0-29.32 N | 142-00.70 E |
| 2 | 72 | 5873 | 3-01.39 N | 137-00.83 E |  | 2 | 86 | 5887 | 0-00.07 S | 142-00.61 E |
| 2 | 73 | 5874 | 2-54.33 N | 137-30.63 E |  | 2 | 87 | 5888 | 0-29.90 S | 142-00.87 E |
| 2 | 74 | 5875 | 2-49.26 N | 138-00.52 E |  | 2 | 88 | 5889 | 1-00.75 S | 142-00.28 E |
| 2 | 75 | 5876 | 2-41.51 N | 138-32.00 E |  | 2 | 89 | 5890 | 1-30.46 S | 142-00.26 E |
| 2 | 76 | 5877 | 2-36.54 N | 139-00.45 E |  | 2 | 90 | 5891 | 2-00.37 S | 142-00.02 E |
| 2 | 77 | 5878 | 2-27.30 N | 139-38.67 E |  | 2 | 91 | 5893 | 2-10.54 S | 141-29.74 E |
| 2 | 78 | 5879 | 2-22.85 N | 140-00.81 E |  | 2 | 92 | 5892 | 2-17.23 S | 141-11.36 E |

Table 3. Information of deployed float and buoy.

| Float | Date and Time | Position of deployment | PI |  |
| --- | --- | --- | --- | --- |
| WMO number | of Deployment (UTC) | Latitude | Longitude |  |  |
| 2902982 | 2016 Aug. 15 23:20 | 21-57.62 N | 139-02.82 E | JMA | ARVOR |
| Buoy | Date and Time | Position of deployment | PI |  |
| WMO number | of Deployment (UTC) | Latitude | Longitude |  |  |
| 21704 | 2016 July 07 19:11 | 30-00.98 N | 136-59.99 E | JMA | YTSS-2100 |

ARVOR: nke Instrumentation, France

YTSS-2100: JVC KENWOOD Co., Japan

- List of Principal Investigators for all Measurements

The principal investigator (PI) and the person in charge responsible for major parameters measured on the cruise are listed in Table 4.

Table 4. List of principal investigator and the person in charge on the ship for RF16-06.

Item			Principal Investigator（PI）	Person in charge on the ship

Hydrography

CTDO2 / LADCP	Toshiya NAKANO		Yoshikazu HIGASHI

Salinity 		Toshiya NAKANO		Keizo SHUTTA

Dissolve oxygen		Toshiya NAKANO		Kazuhiro SAITO

Nutrients		Toshiya NAKANO		Takahiro KITAGAWA

Phytopigment		Toshiya NAKANO		Hiroyuki TAKANO

DIC			Toshiya NAKANO		Shinji MASUDA

Total Alkalinity		Toshiya NAKANO		Shinji MASUDA

pH			Toshiya NAKANO		Shinji MASUDA

CFCs			Toshiya NAKANO		Kazukaka ENYO

Underway

Meteorology		Toshiya NAKANO		Naoki NAGAI

Thermo-Salinograph	Toshiya NAKANO		Shinji MASUDA

pCO2			Toshiya NAKANO		Shinji MASUDA

Chlorophyll-a		Toshiya NAKANO		Hiroyuki TAKANO

ADCP			Toshiya NAKANO		Yoshikazu HIGASHI

Bathymetry		Toshiya NAKANO		Yoshikazu HIGASHI

Floats

Argo float		Kazuhiro NEMOTO		Keizo SHUTTA

Toshiya NAKANO (nakano_t@met.kishou.go.jp)

Marine Division, Global Environment and Marine Department, JMA

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341 Ext. 5131

Kazuhiro NEMOTO (k-nemoto@met.kishou.go.jp)

Marine Division, Global Environment and Marine Department, JMA

1-3-4, Otemachi, Chiyoda-ku, Tokyo 100-8122, JAPAN

Phone: +81-3-3212-8341 Ext. 5128

Reference

Swift, J. H. (2010): Reference-quality water sample data: Notes on acquisition, record keeping, and evaluation. IOCCP Report No.14, ICPO Pub. 134, 2010 ver.1