## 3. Bottle Oxygen

*31 March 2023*

1. **Personnel**

KITAGAWA Takahiro

FUJII Takuya

NAKAMURA Motohiro (RF22-05, RF22-06)

HASHIMOTO Susumu (RF22-06, RF22-07)

OCHIAI Naoko (RF22-05, RF22-07)

FUJIWARA Hiroyuki (RF22-05)

UEHARA Tomohiro (RF22-06)

KAKUYA Keita (RF22-07)

### Station occupied

A total of 92 stations (RF 22-05 : 24, RF 22-06 : 36, RF 22-07 : 32) were occupied for dissolved oxygen measurements. Station location and sampling layers of bottle oxygen are shown in Figures C.3.1 and C.3.2, respectively.

 

Figure C.3.1. Location of observation stations of bottle oxygen. Closed and open circles indicate sampling and no-sampling stations, respectively.



Figure C.3.2. Distance-depth distribution of sampling layers of bottle oxygen.

### Instrument

Detector: DOT-15X (KIMOTO ELECTRIC CO., LTD., Japan)

Burette: APB-610 (Kyoto Electronics Manufacturing Co., Ltd., Japan)

### Sampling and measurement

Methods of seawater sampling, measurement, and calculation of dissolved oxygen concentration were based on an IOCCP Report (Langdon, 2010). Details of the methods are shown in Appendix A1.

The reagents for the measurement were prepared according to recipes described in Appendix A2. Standard KIO3 solutions were prepared gravimetrically using the highest purity standard substance KIO3 (Lot. No. KCN5512, FUJIFILM Wako Pure Chemical Corporation, Japan). Table C.3.1 shows the batch list of prepared standard KIO3 solutions.

Table C.3.1. Batch list of the standard KIO3 solutions.

|  |  |  |  |
| --- | --- | --- | --- |
| **KIO3 batch** | **Cruise** | **Concentration and uncertainty (k=2) at 20 °C. Unit is mol L**−**1.** | **Purpose of use** |
| 20220117-2 | RF22-05,06,07 | 0.0016666±0.0000007 | Standardization (main use) |
| 20211130-2 | RF22-05,06,07 | 0.0016670±0.0000007 | Mutual comparison |

### Standardization

The concentration of the Na2S2O3 titrant was determined with the standard KIO3 solution 20220117-2 for RF22-05, RF22-06 and RF22-07, respectively, based on the methods of an IOCCP Report (Langdon, 2010). Figure C.3.3 shows the results of standardization during the cruise. The standard deviation of the concentration at 20 °C was determined through standardization and was used in the calculation of uncertainty.

Figure C.3.3. Calculated concentration of Na2S2O3 solution at 20 °C in standardization during RF22-05 (top) and RF22-06 (middle), RF22-07 (bottom). Different colors of plots indicate different batches of Na2S2O3 solution; red (blue) plots correspond to the left (right) y-axis. Error bars of plots show uncertainty (k=2) of concentration of Na2S2O3 in the measurements. Thick and dashed lines denote the mean and twice the standard deviations for the batch measurements, respectively.

### Blank

#### (6.1) Reagent blank

The blank in an oxygen measurement (reagent blank in distilled water; Vreg-blk) was determined by the methods described in the IOCCP Report (Langdon, 2010) using pure water. The blank reflects not only the interfering substances (oxidants or reductants) in the reagents but also the differences between the measured end-point and the equivalence point due to unknown causes in the titrator (Figure C.3.4).



Figure C.3.4. Reagent blank (Vreg-blk) determination. Error bars of plots show standard deviations of the measurements. Thick and dashed lines denote the mean and the mean ±twice the standard deviation for the batch measurement, respectively.

#### (6.2) Seawater blank

We also determined seawater blank (Vsw-blk) which reflects interfering substances in seawater. Although this blank is not included in determination of oxygen concentration, measurement of the blank would be necessary to improve traceability and comparability in dissolved oxygen concentration. Details are described in Appendix A3.

### Quality Control

#### (7.1) Replicate and duplicate analyses

We took replicate (pair of water samples taken from a single Niskin bottle) and duplicate (pair of water samples taken from different Niskin bottles closed at the same depth) samples of dissolved oxygen throughout the cruise. Table C.3.2 summarizes the results of the analyses. Figure C.3.5 shows details of the results. The calculation of the standard deviation from the difference of sets was based on a procedure (SOP 23) in DOE (1994).

Table C.3.2. Summary of replicate and duplicate measurements.

|  |  |
| --- | --- |
| **Measurement** | **Ave. ± S.D. (mol kg−1)** |
| Replicate | 0.18±0.17 (N=353) |
| Duplicate | 0.24±0.24 (N=174) |

 　

Figure C.3.5. Results of (left) replicate and (right) duplicate measurements during the cruise against (a) station number, (b) pressure, and (c) concentration of dissolved oxygen. Green lines denote the average of the measurements. Bottom panels (d) show histograms of the measurements.

#### (7.2) Comparisons between standard KIO3 solutions

During the cruise, comparisons were made between different lots of standard KIO3 solutions to confirm the accuracy of our oxygen measurements and the bias of a standard KIO3 solution. A concentration of the standard KIO3 solution “20211130-2” was determined using Na2S2O3 solution standardized with the KIO3 solution “20220117-2”, and the difference between the measured value and the theoretical one. Good agreement between two standards confirmed that there was no systematic shift in oxygen measurements during the cruise (Figure C.3.6).







Figure C.3.6. Result of comparison of standard KIO3 solutions during RF22-05 (top), RF22-06 (middle) and RF22-07 (bottom). Circles and error bars show mean of the measured value and its uncertainty (k=2), respectively. Thick and dashed lines in blue denote the mean and the mean ± twice the standard deviations, respectively, for the measurements throughout the cruise. Green thin line and light green thick line denote the nominal concentration and its uncertainty (k=2) of standard KIO3 solution “20211130-2”, for RF22-05, RF22-06 and RF22-07, respectively.

#### (7.3) Quality control flag assignment

A quality flag value was assigned to oxygen measurements, as shown in Table C.3.3, using the code defined in IOCCP Report No.14 (Swift, 2010).

Table C.3.3. Summary of assigned quality control flags.

|  |  |  |
| --- | --- | --- |
| Flag | Definition | Number of samples |
| 2 | Good | 2927 |
| 3 | Questionable | 2 |
| 4 | Bad (Faulty) | 12 |
| 5 | Not reported | 0 |
| 6 | Replicate measurements | 353 |
| Total number of samples | 3294 |

### Uncertainty

Oxygen measurement involves various uncertainties; determination of glass bottles volume, repeatability and systematic error of burette discharge, repeatability of pickling reagent discharges, determination of reagent blank, standardization of Na2S2O3 solution, and uncertainty of KIO3 concentration. After taking into consideration the above uncertainties that could be evaluated, the expanded uncertainty of bottle oxygen concentrations (*T*=20, *S*=34.5) was estimated, as shown in Table C.3.4. However, it is difficult to determine a strict uncertainty for oxygen concentration because there is no reference material for oxygen measurement.

Table C.3.4. Expanded uncertainty (k=2) of bottle oxygen during the cruise.

|  |  |
| --- | --- |
| O2 conc. (mol kg−1) | Uncertainty (mol kg−1) |
| 20 | 0.31  |
| 30 | 0.32  |
| 50 | 0.34  |
| 70 | 0.37  |
| 100 | 0.41  |
| 150 | 0.51  |
| 200 | 0.62  |
| 250 | 0.74  |
| 300 | 0.87  |
| 400 | 1.12  |

### Appendix

**A1. Methods**

**(A1.1) Seawater sampling**

Following procedure is based on a determination method in IOCCP Report (Langdon, 2010). Seawater samples were collected from 10-liters Niskin bottles attached the CTD-system and a stainless steel bucket for the surface. Seawater for bottle oxygen measurement was transferred from the Niskin bottle and a stainless steel bucket to a volumetrically calibrated dry glass bottles. At least three times the glass volume water was overflowed. Then, pickling reagent-I 1 mL and reagent-II 1mL were added immediately, and sample temperature was measured using a thermometer. After a stopper was inserted carefully into the glass, it was shaken vigorously to mix the content and to disperse the precipitate finely. After the precipitate has settled at least halfway down the glass, the glass was shaken again. The sample glasses containing pickled samples were stored in a laboratory until they were titrated. To prevent air from entering the glass, deionized water (DW) was added to its neck after sampling.

**(A1.2) Sample measurement**

At least 15 minutes after the re-shaking, the samples were measured on board. Added 1 mL H2SO4 solution and a magnetic stirrer bar into the sample glass, samples were titrated with Na2S2O3 solution whose molarity was determined with KIO3 solution. During the titration, the absorbance of iodine in the solution was monitored using a detector. Also, temperature of Na2S2O3 solution during the titration was recorded using a thermometer. Dissolved oxygen concentration (mol kg−1) was calculated from sample temperature at the fixation, CTD salinity, glass volume, and titrated volume of the Na2S2O3 solution, and oxygen in the pickling reagents-I (1 mL) and II (1 mL) (7.6 × 10−8 mol; Murray *et al.*, 1968).

**A2. Reagents recipes**

Pickling reagent-I; Manganous chloride solution (3 molL−1)

Dissolve 600 g of MnCl2·4H2O in DW, then dilute the solution with DW to a final volume of 1 L.

Pickling reagent-II; Sodium hydroxide (8 molL−1) / sodium iodide solution (4 molL−1)

Dissolve 320 g of NaOH in about 500 mL of DW, allow to cool, then add 600 g NaI and dilute with DW to a final volume of 1 L.

H2SO4 solution; Sulfuric acid solution (5 molL−1)

Slowly add 280 mL concentrated H2SO4 to roughly 500 mL of DW. After cooling the final volume should be 1 L.

Na2S2O3 solution; Sodium thiosulfate solution (0.04 molL−1)

Dissolve 50 g of Na2S2O3·5H2O and 0.4 g of Na2CO3 in DW, then dilute the solution with DW to a final volume of 5 L.

KIO3 solution; Potassium iodate solution (0.001667 mol L−1)

Dry high purity KIO3 for two hours in an oven at 130 °C. After weight out accurately KIO3, dissolve it in DW in a 5 L flask. Concentration of potassium iodate is determined by a gravimetric method.

**A3. Seawater blank**

Blank due to redox species other than oxygen in seawater (Vsw-blk) can be a potential source of measurement error. Total blank (Vtot-blk) in seawater measurement can be represented as follows;

Vtot-blk, = Vreg-blk + Vsw-blk.(C3.A1)

Because the reagent blank (Vreg-blk) determined for pure water is expected to be equal to that in seawater, the difference between blanks for seawater (Vtot-blk) and for pure water gives the Vsw-blk.

Here, Vsw-blk was determined by following procedure. Seawater was collected in the calibrated volumetric glass without the pickling solution. Then 1 mL of the standard KIO3 solution, H2SO4 solution, and reagent solution-II and I each were added in sequence into the glass. After that, the sample was titrated to the end-point by Na2S2O3 solution. Similarly, a glass contained 100 mL of DW added with 1 mL of the standard KIO3 solution, H2SO4 solution, pickling reagent solution-II and I were titrated with Na2S2O3 solution. The difference of the titrant volume of the seawater and DW glasses gave Vsw-blk.

The seawater blank has been reported from 0.4 to 0.8 molkg−1 in the previous study (Culberson *et al*., 1991). Additionally, these errors are expected to be the same to all investigators and not to affect the comparison of results from different investigators (Culberson, 1994). However, the magnitude and variability of the seawater blank have not yet been documented. Understanding of the magnitude and variability is important to improve traceability and comparability in oxygen concentration. The determined seawater blanks are shown in Table C.3.A1.

Table C.3.A1. Results of seawater blank determinations.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Station: RF705402°-16′N/140°-30′E |  | Station: RF706404°-31′N/137°-01′E |  | Station: RF708512°-30′N/137°-00′E |
| Depth | Blank |  | Depth | Blank |  | Depth | Blank |
| (m) | (μmol kg−1) |  | (m) | (μmol kg−1) |  | (m) | (μmol kg−1) |
| 25 | 0.24 |  | 50 | 0.13 |  | 50 | 0.55 |
| 50 | 0.28 |  | 125 | 0.21 |  | 125 | 0.44 |
| 101 | 0.33 |  | 151 | 0.77 |  | 125 | 0.71 |
| 202 | 0.56 |  | 972 | 0.35 |  | 152 | 0.51 |
| 202 | 0.67 |  | 1532 | 1.17 |  | 1001 | 0.81 |
| 431 | 0.63 |  | 2532 | 0.80 |  | 1600 | 0.91 |
| 731 | 0.52 |  | 3423 | 0.73 |  | 2600 | 0.98 |
| 1271 | 0.53 |  | 4171 | 0.67 |  | 3001 | 0.67 |
| 1873 | 0.60 |  | 4927 | 0.57 |  | 3501 | 0.76 |
| 2075 | 0.54 |  |  |  |  | 4250 | 0.88 |
| 2472 | 0.65 |  |  |  |  | 4693 | 0.94 |
| 3078 | 0.68 |  |  |  |  | 4693 | 0.88 |
|  |  |  |  |  |  |  |  |
| Station: RF710221°-00′N/137°-01′E |  | Station: RF712129°-30′N/137°-10′E |  | Station: RF713532°-20′N/137°-00′E |
| Depth | Blank |  | Depth | Blank |  | Depth | Blank |
| (m) | (μmol kg−1) |  | (m) | (μmol kg−1) |  | (m) | (μmol kg−1) |
| 26 | 0.77 |  | 74 | 0.47 |  | 26 | 0.78 |
| 100 | 0.64 |  | 149 | 0.60 |  | 51 | 0.61 |
| 100 | 0.72 |  | 149 | 0.68 |  | 51 | 0.66 |
| 200 | 0.99 |  | 280 | 0.75 |  | 434 | 0.65 |
| 432 | 0.80 |  | 772 | 0.64 |  | 1072 | 0.71 |
| 1266 | 0.92 |  | 1929 | 0.75 |  | 1670 | 0.78 |
| 2074 | 1.05 |  | 2529 | 0.71 |  | 2070 | 0.68 |
| 3080 | 0.97 |  | 3170 | 0.76 |  | 2472 | 0.77 |
| 3581 | 1.41 |  | 3668 | 0.71 |  | 2871 | 0.77 |
| 4072 | 1.38 |  | 4170 | 0.81 |  | 3333 | 0.75 |
| 4797 | 1.17 |  | 4640 | 0.75 |  | 4026 | 0.81 |
| 4797 | 1.00 |  | 4640 | 0.76 |  | 4026 | 0.75 |

***Reference***

Culberson, A.H. (1994), Dissolved oxygen, in WHPO Pub. 91-1 Rev. 1, November 1994, Woods Hole, Mass., USA.

Culberson, A.H., G. Knapp, M.C. Stalcup, R.T. Williams, and F. Zemlyak (1991), A comparison of methods for the determination of dissolved oxygen in seawater, WHPO Pub. 91-2, August 1991, Woods Hole, Mass., USA.

Langdon, C. (2010), Determination of dissolved oxygen in seawater by Winkler titration using the amperometric technique, *IOCCP Report No.14, ICPO Pub. 134, 2010 ver.1*

Murray, C. N., J. P. Riley and T. R. S. Wilson (1968), The solubility of oxygen in Winkler reagents used for the determination of dissolved oxygen. *Deep-Sea Res*. 15, 237–238.

Swift, J. H. (2010), Reference-quality water sample data: Notes on acquisition, record keeping, and evaluation. *IOCCP Report No.14, ICPO Pub. 134, 2010 ver.1*.